## Calculator
Preventive Maintenance Due Interval
MFG CALCS ¦ open the live calculator: mfgcalcs.com
Numeric formulas recalculate; not all website suitability checks run in Excel. These results do not confirm process suitability. Recheck your inputs on the live calculator.
INPUTS (edit the yellow cells)
Approved Service Interval | 3200 | hr
Hours Since Service | 800 | hr
Daily Operating Hours | 20 | hr / day
Approved Calendar Interval | 180 | days
Days Since Service | 30 | days
RESULTS (recalculate live as you edit inputs)
Service Due In | 120 | days
Operating Hours Remaining | 2400 | hr
Calendar Days Remaining | 150 | days
Days to Operating Limit | 120 | days
FORMULA
Operating hours remaining = max(0, approved hours − elapsed operating hours)
Calendar days remaining = max(0, approved days − elapsed calendar days)
Days to operating limit = operating hours remaining ÷ daily operating hours
Service due in = min(days to operating limit, calendar days remaining)
Blank results indicate an unsupported denominator or inconsistent inputs. Review input notes and the Method sheet before using the estimate.
Note on B5: Operating-hour limit from the approved equipment maintenance plan.
Note on B6: Operating hours recorded since the last completed qualifying service.
Note on B7: Expected average operating hours per calendar day before service.
Note on B8: Calendar limit from the same approved service plan.
Note on B9: Elapsed calendar days since that service was completed.

## Method
METHOD & RELEASE CONTROL
Workbook version | mnt-009-workbook-2.0.0
Formula version | mnt-009-formula-2.0.0
Content version | mnt-009-content-2.0.0
Workbook ID | mfgcalcs-mnt-009-v2
METHOD NOTES
• | Operating hours remaining = max(0, approved hours − elapsed operating hours)
• | Calendar days remaining = max(0, approved days − elapsed calendar days)
• | Days to operating limit = operating hours remaining ÷ daily operating hours
• | Service due in = min(days to operating limit, calendar days remaining)
• | Both entered limits are mandatory limits in the approved service plan.
• | Average daily operation remains unchanged until the next service.
• | The schedule does not infer a safe interval from historical failure time.
• | Condition alarms and mandatory instructions can require earlier intervention.
ASSUMPTIONS
• | Both entered limits are mandatory limits in the approved service plan.
• | Average daily operation remains unchanged until the next service.
LIMITATIONS
• | The schedule does not infer a safe interval from historical failure time.
• | Condition alarms and mandatory instructions can require earlier intervention.
SOURCES
Department of Energy, Operating and Maintenance Criteria | https://www1.eere.energy.gov/manufacturing/eguide/iso_step_3_5.html
Maintenance criteria should come from established controls, manufacturer recommendations and qualified service personnel. The calculator schedules entered limits; this source supplies no universal service interval.

## Worked Example
Recorded Preventive Maintenance Due Interval
INPUT | VALUE | UNIT
Approved Service Interval | 3200 | hr
Hours Since Service | 800 | hr
Daily Operating Hours | 20 | hr / day
Approved Calendar Interval | 180 | days
Days Since Service | 30 | days
RESULT | VALUE | UNIT | EXPECTED HEADLINE | ABSOLUTE TOLERANCE
Service Due In | 120 | days | 120 | 1e-07
Operating Hours Remaining | 2400 | hr
Calendar Days Remaining | 150 | days
Days to Operating Limit | 120 | days
Note on D11: Independently checked expected headline; this is a reference value, not calculated from the workbook formula.

## About
Preventive Maintenance Due Interval
Schedule the next preventive task from approved operating-hour and calendar limits.
Use it for hour and calendar service scheduling, next preventive work window.
Live calculator: https://www.mfgcalcs.com/calculators/maintenance-reliability-downtime/preventive-maintenance-interval
All 5384 calculators: https://www.mfgcalcs.com/calculators
Methodology: https://www.mfgcalcs.com/methodology
Free to use and share with attribution to MFG Calcs.
Results are engineering estimates from documented formulas; verify against your own process data before making production decisions.