## Start Here
Gauge Calibration Log
| Read this first: what the workbook does and how to use it. |  |  |  | mfgcalcs.com
Gauge Calibration Log
Keep every gauge's due date, as-found results and calibration history in one register, and see what is overdue, what falls due next and which gauges drift.
For: Quality engineers, metrology and calibration technicians, and quality managers who control measuring equipment for ISO 9001, IATF 16949, AS9100 or ISO 13485 audits.
Version 1.0.0 · updated 15 October 2026
Quick start
| 1. | On Setup, set the status date, the due-soon window and your targets, then replace the example gauge types, locations and calibration providers.
| 2. | On Gauge Register, list every gauge once: ID, description, type, location, calibration interval and whether it is in service.
| 3. | On Calibration Records, add one row per calibration: gauge, date, provider, as-found and as-left result, impact review, certificate and cost.
| 4. | Read the Check columns: anything other than OK names the problem in words.
| 5. | Move the status date forward each time you update the log, then open the Dashboard for overdue gauges, the next 12 months and drift by gauge type.
What is in this workbook
|  | Start Here | Read this first: what the workbook does and how to use it.
|  | Setup | Status date, due-soon window, your targets, and the gauge type, location and calibration provider lists.
|  | Gauge Register | One row per gauge: interval and status. Last calibration, next due date and due status come from the records.
|  | Calibration Records | One row per calibration: as-found and as-left results, impact review, certificate and cost.
|  | Dashboard | Overdue and due-soon gauges, on-time calibration, out-of-tolerance finds and the next 12 months of recalls.
|  | Method | How every number is calculated, with assumptions, limits and sources.
|  | Verify | Self-check: the workbook's formulas recomputed on fixed inputs against an independent reference.
Colour key
|  | Input | Yellow cells are yours: type a value or pick from the list. Each one says what it accepts when you click it.
|  | Calculated | Blue cells are formulas. They update as you type; overwrite one and that row stops calculating.
|  | Note | Grey boxes are guidance and labelled example data.
|  | Status words | On target / PASS / OK | Near target / Check | Below target / FAIL
Status is always written in words; the colour only repeats it, so the workbook reads the same in black-and-white print and for colour-blind readers.
Self-check and links
|  | Self-check | PASS | 18 of 18 checks pass
The Verify sheet recomputes this workbook's formulas on fixed test inputs and compares them with an independent reference calculation. PASS means every check agreed when you opened the file.
|  | Run it live | Calibration Schedule Adherence Calculator on mfgcalcs.com
|  | Latest version | mfgcalcs.com/templates/calibration-log
|  | More free templates | mfgcalcs.com/templates
|  | Version | 1.0.0 (updated 15 October 2026)
About the example data
Every number already in this workbook is example data for Northgate Precision, a fictional business invented for this template, so the dashboard and charts show something meaningful on day one. It covers 24 gauges of a small machine shop with calibration records from January 2025 to the status date (9 October 2026), generated from a fixed seed. To clear it: on each working sheet, select the example rows of the table, right-click and choose Delete > Table Rows. The formulas stay, and every new row you type below the table picks them up.
Good to know
| • | Sheets Start Here, Dashboard, Method, Verify are protected without a password so formulas and layout are not overwritten by accident. To change them: Review > Unprotect Sheet.
| • | Setup and the working sheets are not protected, so tables grow as you add rows.
| • | Works in Excel 2016 and later, Microsoft 365, LibreOffice 24 and Google Sheets (File > Import). No macros, no external links, no add-ins.
| • | Money is shown in the currency you type on Setup; no exchange rates are applied.
Free from MFG Calcs - keep this credit when you share it.
Engineering estimates for planning and improvement work. Verify the results against your own process, data and standards before you rely on them.

## Setup
Gauge Calibration Log
| Status date, due-soon window, your targets, and the gauge type, location and calibration provider lists. |  | mfgcalcs.com
Site and status date
| Plant or site name | Northgate Precision (example)
| Currency label | USD
| Status date (as of) | 2026-10-09
| Due soon window | 30 | days
Targets (yours to set)
| On-time calibration target | 95%
| As-found out-of-tolerance limit | 5%
Targets are yours to set; nothing here assumes an industry benchmark. 'Near target' means within 5% of the target (90.25% to 95% against a 95% on-time target). Calibration intervals are set per gauge on the Gauge Register from your own procedure, the maker's advice and the gauge's history.
Lists that feed the dropdowns
Edit, add or remove rows; the dropdowns on the register and the record log read these lists. Keep names unique: a renamed item stops matching old rows, and their Check column says so.
Gauge types
| Type | Notes
| Caliper | Vernier, dial and digital calipers
| Micrometer | Outside, inside and depth micrometers
| Height gauge | Digital height gauges on the surface plate
| Bore gauge | Dial bore gauges and setting rings
| Plug and pin gauge | Go/no-go plugs and pin sets
| Thread gauge | Thread plugs and rings
| Torque wrench | Click and dial torque wrenches
| Indicator | Dial and test indicators
| CMM | Coordinate measuring machine
| Pressure gauge | Test and process pressure gauges
Locations
| Location | Notes
| Inspection room | Temperature-controlled, 20 C
| Cell 1 turning | CNC lathes
| Cell 2 milling | Machining centres
| Assembly | Final assembly and test
| Receiving | Incoming inspection
Calibration providers
| Calibrated by | Kind | Notes
| In-house lab | Internal | Against reference standards with traceable certificates
| Metrology Partners (example) | External | ISO/IEC 17025 accredited lab (fictional)
| Torque Tools Service (example) | External | Torque and pressure calibration (fictional)

## Gauge Register
Gauge Calibration Log
| One row per gauge: interval and status. Last calibration, next due date and due status come from the records. | [13 empty] | mfgcalcs.com
Example data for Northgate Precision (fictional). Replace it with your own: select the example rows, right-click, Delete > Table Rows (do the same on Calibration Records). Yellow = you type; blue = calculated; Check names any problem. Due status is measured to the status date on Setup.
| Gauge ID | Description | Type | Location | Range or size | Interval (days) | Status | Records | Last calibrated | Next due | Days to due | Due status | OOT finds | Check | Notes
| CAL-001 | Digital caliper 150 mm | Caliper | Cell 1 turning | 0-150 mm | 180 | In service | 4 | 2026-08-04 | 2027-01-31 | 114 | OK | 0 | OK
| CAL-002 | Digital caliper 150 mm | Caliper | Cell 2 milling | 0-150 mm | 180 | In service | 4 | 2026-08-28 | 2027-02-24 | 138 | OK | 0 | OK
| CAL-003 | Dial caliper 300 mm | Caliper | Assembly | 0-300 mm | 180 | In service | 4 | 2026-08-31 | 2027-02-27 | 141 | OK | 0 | OK
| CAL-004 | Digital caliper 200 mm | Caliper | Receiving | 0-200 mm | 180 | In service | 4 | 2026-09-21 | 2027-03-20 | 162 | OK | 0 | OK
| MIC-010 | Outside micrometer 0-25 mm | Micrometer | Cell 1 turning | 0-25 mm | 365 | In service | 2 | 2026-02-06 | 2027-02-06 | 120 | OK | 0 | OK
| MIC-011 | Outside micrometer 25-50 mm | Micrometer | Cell 1 turning | 25-50 mm | 365 | In service | 2 | 2026-03-09 | 2027-03-09 | 151 | OK | 0 | OK
| MIC-012 | Inside micrometer 50-75 mm | Micrometer | Cell 2 milling | 50-75 mm | 365 | In service | 2 | 2026-03-06 | 2027-03-06 | 148 | OK | 0 | OK
| MIC-013 | Depth micrometer 0-150 mm | Micrometer | Inspection room | 0-150 mm | 365 | Out of service | 2 | 2026-04-01 | 2027-04-01 | 174 | Out of service | 1 | OK | Spindle sticking: sent for repair
| HGT-020 | Digital height gauge 300 mm | Height gauge | Inspection room | 0-300 mm | 365 | In service | 2 | 2026-02-23 | 2027-02-23 | 137 | OK | 0 | OK
| BOR-030 | Dial bore gauge 35-60 mm | Bore gauge | Cell 2 milling | 35-60 mm | 180 | In service | 4 | 2026-07-13 | 2027-01-09 | 92 | OK | 0 | OK
| BOR-031 | Setting ring 50 mm | Bore gauge | Inspection room | 50.000 mm | 365 | In service | 2 | 2026-05-12 | 2027-05-12 | 215 | OK | 0 | OK
| PIN-040 | Pin gauge set 1-10 mm | Plug and pin gauge | Inspection room | 1.00-10.00 mm | 365 | In service | 2 | 2026-05-13 | 2027-05-13 | 216 | OK | 0 | OK
| PLG-041 | Go/no-go plug 12H7 | Plug and pin gauge | Cell 1 turning | 12H7 | 180 | In service | 3 | 2026-04-06 | 2026-10-03 | -6 | Overdue | 0 | OK
| THR-050 | Thread plug M8x1.25 6H | Thread gauge | Cell 1 turning | M8x1.25 | 180 | In service | 4 | 2026-08-10 | 2027-02-06 | 120 | OK | 0 | OK
| THR-051 | Thread ring M10x1.5 6g | Thread gauge | Assembly | M10x1.5 | 180 | In service | 3 | 2026-04-30 | 2026-10-27 | 18 | Due soon | 1 | OK
| TRQ-060 | Click torque wrench 5-25 N m | Torque wrench | Assembly | 5-25 N m | 90 | In service | 8 | 2026-07-20 | 2026-10-18 | 9 | Due soon | 2 | OK
| TRQ-061 | Click torque wrench 20-100 N m | Torque wrench | Assembly | 20-100 N m | 90 | In service | 8 | 2026-08-04 | 2026-11-02 | 24 | Due soon | 2 | OK
| TRQ-062 | Dial torque wrench 2-10 N m | Torque wrench | Assembly | 2-10 N m | 90 | In service | 7 | 2026-06-29 | 2026-09-27 | -12 | Overdue | 1 | OK
| IND-070 | Dial indicator 0.01 mm | Indicator | Cell 2 milling | 0-10 mm | 365 | In service | 2 | 2026-04-29 | 2027-04-29 | 202 | OK | 0 | OK
| IND-071 | Test indicator 0.002 mm | Indicator | Inspection room | 0-0.2 mm | 365 | In service | 2 | 2026-04-17 | 2027-04-17 | 190 | OK | 0 | OK
| CMM-080 | Bridge CMM 700 x 1000 x 600 | CMM | Inspection room | 700x1000x600 mm | 365 | In service | 2 | 2026-04-23 | 2027-04-23 | 196 | OK | 0 | OK
| PRS-090 | Test pressure gauge 0-10 bar | Pressure gauge | Assembly | 0-10 bar | 180 | In service | 4 | 2026-09-07 | 2027-03-06 | 148 | OK | 0 | OK
| PRS-091 | Process pressure gauge 0-250 bar | Pressure gauge | Cell 1 turning | 0-250 bar | 180 | In service | 3 | 2026-03-10 | 2026-09-06 | -33 | Overdue | 0 | OK
| CAL-005 | Dial caliper 150 mm (worn jaws) | Caliper | Receiving | 0-150 mm | 180 | Retired | 2 | 2025-07-14 | 2026-01-10 | -272 | Retired | 1 | OK | Worn jaws, scrapped
Formulas:
Last calibrated = IF(tblGauges[[#This Row],[Gauge ID]]="","",IF(tblGauges[[#This Row],[Records]]=0,"",SUMPRODUCT(MAX((tblCalibrations[Gauge ID]=tblGauges[[#This Row],[Gauge ID]])*tblCalibrations[Date calibrated]))))
Next due = IF(tblGauges[[#This Row],[Gauge ID]]="","",IF(OR(tblGauges[[#This Row],[Last calibrated]]="",tblGauges[[#This Row],[Interval (days)]]=""),"",tblGauges[[#This Row],[Last calibrated]]+tblGauges[[#This Row],[Interval (days)]]))

## Calibration Records
Gauge Calibration Log
| One row per calibration: as-found and as-left results, impact review, certificate and cost. | [16 empty] | mfgcalcs.com
Example data for Northgate Precision (fictional; costs are example values). Each record finds the gauge's previous calibration itself, so its due date and On time need no typing. An out-of-tolerance find needs an impact review entry (Open or Closed).
USD
| Gauge ID | Date calibrated | Calibrated by | As found | Action | As left | Impact review | Certificate no. | Cost | Interval (days) | Previous calibration | Due date | Days late | On time | OOT (1/0) | View date | Check | Notes
| TRQ-060 | 2025-01-07 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2501-145 | 214 | 90 |  |  |  |  | 0 | 2025-01-07 | OK
| TRQ-061 | 2025-01-13 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2501-153 | 117 | 90 |  |  |  |  | 0 | 2025-01-13 | OK
| CAL-005 | 2025-01-16 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2501-181 | 50 | 180 |  |  |  |  | 0 | 2025-01-16 | OK
| TRQ-062 | 2025-02-07 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2502-161 | 117 | 90 |  |  |  |  | 0 | 2025-02-07 | OK
| HGT-020 | 2025-02-10 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2502-125 | 168 | 365 |  |  |  |  | 0 | 2025-02-10 | OK
| BOR-030 | 2025-02-13 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2502-127 | 42 | 180 |  |  |  |  | 0 | 2025-02-13 | OK
| MIC-010 | 2025-02-19 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2502-117 | 44 | 365 |  |  |  |  | 0 | 2025-02-19 | OK
| CAL-001 | 2025-02-26 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2502-101 | 35 | 180 |  |  |  |  | 0 | 2025-02-26 | OK
| THR-050 | 2025-03-05 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2503-138 | 86 | 180 |  |  |  |  | 0 | 2025-03-05 | OK
| MIC-012 | 2025-03-07 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2503-121 | 51 | 365 |  |  |  |  | 0 | 2025-03-07 | OK
| CAL-002 | 2025-03-24 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2503-105 | 42 | 180 |  |  |  |  | 0 | 2025-03-24 | OK
| MIC-011 | 2025-03-24 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2503-119 | 32 | 365 |  |  |  |  | 0 | 2025-03-24 | OK
| TRQ-060 | 2025-03-31 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2503-146 | 223 | 90 | 2025-01-07 | 2025-04-07 | 0 | Yes | 0 | 2025-03-31 | OK
| PRS-090 | 2025-04-01 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2504-174 | 175 | 180 |  |  |  |  | 0 | 2025-04-01 | OK
| CAL-003 | 2025-04-02 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2504-109 | 45 | 180 |  |  |  |  | 0 | 2025-04-02 | OK
| TRQ-061 | 2025-04-02 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2504-154 | 202 | 90 | 2025-01-13 | 2025-04-13 | 0 | Yes | 0 | 2025-04-02 | OK
| MIC-013 | 2025-04-07 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2504-123 | 43 | 365 |  |  |  |  | 0 | 2025-04-07 | OK
| THR-051 | 2025-04-16 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2504-142 | 186 | 180 |  |  |  |  | 0 | 2025-04-16 | OK
| CAL-004 | 2025-04-22 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2504-113 | 28 | 180 |  |  |  |  | 0 | 2025-04-22 | OK
| PRS-091 | 2025-04-23 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2504-178 | 194 | 180 |  |  |  |  | 0 | 2025-04-23 | OK
| CMM-080 | 2025-04-28 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2504-172 | 1450 | 365 |  |  |  |  | 0 | 2025-04-28 | OK
| IND-071 | 2025-04-28 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2504-170 | 38 | 365 |  |  |  |  | 0 | 2025-04-28 | OK
| IND-070 | 2025-05-05 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2505-168 | 46 | 365 |  |  |  |  | 0 | 2025-05-05 | OK
| TRQ-062 | 2025-05-07 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2505-162 | 234 | 90 | 2025-02-07 | 2025-05-08 | 0 | Yes | 0 | 2025-05-07 | OK
| PLG-041 | 2025-05-08 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2505-135 | 38 | 180 |  |  |  |  | 0 | 2025-05-08 | OK
| PIN-040 | 2025-05-12 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2505-133 | 145 | 365 |  |  |  |  | 0 | 2025-05-12 | OK
| BOR-031 | 2025-05-19 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2505-131 | 182 | 365 |  |  |  |  | 0 | 2025-05-19 | OK
| TRQ-060 | 2025-06-16 | Torque Tools Service (example) | Out of tolerance | Adjusted | In tolerance | Closed | EX-2506-147 | 230 | 90 | 2025-03-31 | 2025-06-29 | 0 | Yes | 1 | 2025-06-16 | OK | Product made since the last calibration reviewed
| TRQ-061 | 2025-06-23 | Torque Tools Service (example) | Out of tolerance | Repaired | In tolerance | Closed | EX-2506-155 | 209 | 90 | 2025-04-02 | 2025-07-01 | 0 | Yes | 1 | 2025-06-23 | OK | Product made since the last calibration reviewed
| CAL-005 | 2025-07-14 | In-house lab | Out of tolerance | Retired | Removed from service | Closed | IH-2507-182 | 38 | 180 | 2025-01-16 | 2025-07-15 | 0 | Yes | 1 | 2025-07-14 | OK | Jaws worn beyond adjustment
| TRQ-062 | 2025-07-31 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2507-163 | 151 | 90 | 2025-05-07 | 2025-08-05 | 0 | Yes | 0 | 2025-07-31 | OK
| BOR-030 | 2025-08-01 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2508-128 | 47 | 180 | 2025-02-13 | 2025-08-12 | 0 | Yes | 0 | 2025-08-01 | OK
| CAL-001 | 2025-08-22 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2508-102 | 49 | 180 | 2025-02-26 | 2025-08-25 | 0 | Yes | 0 | 2025-08-22 | OK
| THR-050 | 2025-08-25 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2508-139 | 180 | 180 | 2025-03-05 | 2025-09-01 | 0 | Yes | 0 | 2025-08-25 | OK
| TRQ-060 | 2025-09-01 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2509-148 | 117 | 90 | 2025-06-16 | 2025-09-14 | 0 | Yes | 0 | 2025-09-01 | OK
| CAL-002 | 2025-09-11 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2509-106 | 46 | 180 | 2025-03-24 | 2025-09-20 | 0 | Yes | 0 | 2025-09-11 | OK
| TRQ-061 | 2025-09-15 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2509-156 | 253 | 90 | 2025-06-23 | 2025-09-21 | 0 | Yes | 0 | 2025-09-15 | OK
| PRS-090 | 2025-09-19 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2509-175 | 157 | 180 | 2025-04-01 | 2025-09-28 | 0 | Yes | 0 | 2025-09-19 | OK
| CAL-003 | 2025-09-22 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2509-110 | 39 | 180 | 2025-04-02 | 2025-09-29 | 0 | Yes | 0 | 2025-09-22 | OK
| CAL-004 | 2025-10-13 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2510-114 | 39 | 180 | 2025-04-22 | 2025-10-19 | 0 | Yes | 0 | 2025-10-13 | OK
| PRS-091 | 2025-10-13 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2510-179 | 139 | 180 | 2025-04-23 | 2025-10-20 | 0 | Yes | 0 | 2025-10-13 | OK
| THR-051 | 2025-10-13 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2510-143 | 142 | 180 | 2025-04-16 | 2025-10-13 | 0 | Yes | 0 | 2025-10-13 | OK
| PLG-041 | 2025-10-21 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2510-136 | 47 | 180 | 2025-05-08 | 2025-11-04 | 0 | Yes | 0 | 2025-10-21 | OK
| TRQ-062 | 2025-10-27 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2510-164 | 173 | 90 | 2025-07-31 | 2025-10-29 | 0 | Yes | 0 | 2025-10-27 | OK
| TRQ-060 | 2025-11-17 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2511-149 | 204 | 90 | 2025-09-01 | 2025-11-30 | 0 | Yes | 0 | 2025-11-17 | OK
| TRQ-061 | 2025-12-04 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2512-157 | 87 | 90 | 2025-09-15 | 2025-12-14 | 0 | Yes | 0 | 2025-12-04 | OK
| TRQ-062 | 2026-01-12 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2601-165 | 247 | 90 | 2025-10-27 | 2026-01-25 | 0 | Yes | 0 | 2026-01-12 | OK
| BOR-030 | 2026-01-19 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2601-129 | 44 | 180 | 2025-08-01 | 2026-01-28 | 0 | Yes | 0 | 2026-01-19 | OK
| MIC-010 | 2026-02-06 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2602-118 | 34 | 365 | 2025-02-19 | 2026-02-19 | 0 | Yes | 0 | 2026-02-06 | OK
| TRQ-060 | 2026-02-13 | Torque Tools Service (example) | Out of tolerance | Adjusted | In tolerance | Closed | EX-2602-150 | 143 | 90 | 2025-11-17 | 2026-02-15 | 0 | Yes | 1 | 2026-02-13 | OK | Product made since the last calibration reviewed
| CAL-001 | 2026-02-16 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2602-103 | 49 | 180 | 2025-08-22 | 2026-02-18 | 0 | Yes | 0 | 2026-02-16 | OK
| THR-050 | 2026-02-16 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2602-140 | 245 | 180 | 2025-08-25 | 2026-02-21 | 0 | Yes | 0 | 2026-02-16 | OK
| HGT-020 | 2026-02-23 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2602-126 | 100 | 365 | 2025-02-10 | 2026-02-10 | 13 | No | 0 | 2026-02-23 | OK
| TRQ-061 | 2026-02-25 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2602-158 | 87 | 90 | 2025-12-04 | 2026-03-04 | 0 | Yes | 0 | 2026-02-25 | OK
| CAL-002 | 2026-03-02 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2603-107 | 36 | 180 | 2025-09-11 | 2026-03-10 | 0 | Yes | 0 | 2026-03-02 | OK
| MIC-012 | 2026-03-06 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2603-122 | 35 | 365 | 2025-03-07 | 2026-03-07 | 0 | Yes | 0 | 2026-03-06 | OK
| MIC-011 | 2026-03-09 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2603-120 | 40 | 365 | 2025-03-24 | 2026-03-24 | 0 | Yes | 0 | 2026-03-09 | OK
| PRS-091 | 2026-03-10 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2603-180 | 115 | 180 | 2025-10-13 | 2026-04-11 | 0 | Yes | 0 | 2026-03-10 | OK
| CAL-003 | 2026-03-16 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2603-111 | 45 | 180 | 2025-09-22 | 2026-03-21 | 0 | Yes | 0 | 2026-03-16 | OK
| PRS-090 | 2026-03-23 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2603-176 | 99 | 180 | 2025-09-19 | 2026-03-18 | 5 | No | 0 | 2026-03-23 | OK
| MIC-013 | 2026-04-01 | In-house lab | Out of tolerance | Repaired | Removed from service | Closed | IH-2604-124 | 31 | 365 | 2025-04-07 | 2026-04-07 | 0 | Yes | 1 | 2026-04-01 | OK | Spindle sticking; returned to supplier
| CAL-004 | 2026-04-03 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2604-115 | 46 | 180 | 2025-10-13 | 2026-04-11 | 0 | Yes | 0 | 2026-04-03 | OK
| PLG-041 | 2026-04-06 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2604-137 | 32 | 180 | 2025-10-21 | 2026-04-19 | 0 | Yes | 0 | 2026-04-06 | OK
| TRQ-062 | 2026-04-06 | Torque Tools Service (example) | Out of tolerance | Adjusted | In tolerance | Closed | EX-2604-166 | 160 | 90 | 2026-01-12 | 2026-04-12 | 0 | Yes | 1 | 2026-04-06 | OK | Product made since the last calibration reviewed
| IND-071 | 2026-04-17 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2604-171 | 32 | 365 | 2025-04-28 | 2026-04-28 | 0 | Yes | 0 | 2026-04-17 | OK
| CMM-080 | 2026-04-23 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2604-173 | 1450 | 365 | 2025-04-28 | 2026-04-28 | 0 | Yes | 0 | 2026-04-23 | OK
| IND-070 | 2026-04-29 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2604-169 | 29 | 365 | 2025-05-05 | 2026-05-05 | 0 | Yes | 0 | 2026-04-29 | OK
| THR-051 | 2026-04-30 | Metrology Partners (example) | Out of tolerance | Adjusted | In tolerance | Closed | EX-2604-144 | 142 | 180 | 2025-10-13 | 2026-04-11 | 19 | No | 1 | 2026-04-30 | OK | Product made since the last calibration reviewed
| TRQ-060 | 2026-05-11 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2605-151 | 238 | 90 | 2026-02-13 | 2026-05-14 | 0 | Yes | 0 | 2026-05-11 | OK
| BOR-031 | 2026-05-12 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2605-132 | 241 | 365 | 2025-05-19 | 2026-05-19 | 0 | Yes | 0 | 2026-05-12 | OK
| PIN-040 | 2026-05-13 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2605-134 | 111 | 365 | 2025-05-12 | 2026-05-12 | 1 | No | 0 | 2026-05-13 | OK
| TRQ-061 | 2026-05-19 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2605-159 | 165 | 90 | 2026-02-25 | 2026-05-26 | 0 | Yes | 0 | 2026-05-19 | OK
| TRQ-062 | 2026-06-29 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2606-167 | 86 | 90 | 2026-04-06 | 2026-07-05 | 0 | Yes | 0 | 2026-06-29 | OK
| BOR-030 | 2026-07-13 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2607-130 | 55 | 180 | 2026-01-19 | 2026-07-18 | 0 | Yes | 0 | 2026-07-13 | OK
| TRQ-060 | 2026-07-20 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2607-152 | 215 | 90 | 2026-05-11 | 2026-08-09 | 0 | Yes | 0 | 2026-07-20 | OK
| CAL-001 | 2026-08-04 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2608-104 | 38 | 180 | 2026-02-16 | 2026-08-15 | 0 | Yes | 0 | 2026-08-04 | OK
| TRQ-061 | 2026-08-04 | Torque Tools Service (example) | Out of tolerance | Adjusted | In tolerance | Open | EX-2608-160 | 171 | 90 | 2026-05-19 | 2026-08-17 | 0 | Yes | 1 | 2026-08-04 | OK | Impact review in progress
| THR-050 | 2026-08-10 | Metrology Partners (example) | In tolerance | None | In tolerance | Not needed | EX-2608-141 | 171 | 180 | 2026-02-16 | 2026-08-15 | 0 | Yes | 0 | 2026-08-10 | OK
| CAL-002 | 2026-08-28 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2608-108 | 51 | 180 | 2026-03-02 | 2026-08-29 | 0 | Yes | 0 | 2026-08-28 | OK
| CAL-003 | 2026-08-31 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2608-112 | 31 | 180 | 2026-03-16 | 2026-09-12 | 0 | Yes | 0 | 2026-08-31 | OK
| PRS-090 | 2026-09-07 | Torque Tools Service (example) | In tolerance | None | In tolerance | Not needed | EX-2609-177 | 229 | 180 | 2026-03-23 | 2026-09-19 | 0 | Yes | 0 | 2026-09-07 | OK
| CAL-004 | 2026-09-21 | In-house lab | In tolerance | None | In tolerance | Not needed | IH-2609-116 | 37 | 180 | 2026-04-03 | 2026-09-30 | 0 | Yes | 0 | 2026-09-21 | OK
Formulas:
View date = IF(tblCalibrations[[#This Row],[Gauge ID]]="","",IF(AND(tblCalibrations[[#This Row],[Date calibrated]]>=FFrom,tblCalibrations[[#This Row],[Date calibrated]]<=FTo),tblCalibrations[[#This Row],[Date calibrated]],""))

## Dashboard
Gauge Calibration Log
| Overdue and due-soon gauges, on-time calibration, out-of-tolerance finds and the next 12 months of recalls. | [8 empty] | mfgcalcs.com
| From |  |  |  | To
Register figures at the status date, 9 Oct 2026. Period figures (blank = all): 82 calibrations done between the dates; on time counts the calibrations that fell due between them.
| GAUGES OVERDUE |  | DUE SOON |  |  | CALIBRATED ON TIME |  |  | FOUND OUT OF TOLERANCE
| 3 |  | 3 |  |  | 88.52% |  |  | 9.756%
| 0 |  | In service, due within the Setup window |  |  | 95% |  |  | 5%
| Above target |  |  |  |  | Below target |  |  | Above target
| GAUGES IN SERVICE |  | CALIBRATIONS IN PERIOD |  |  | OPEN IMPACT REVIEWS |  |  | CALIBRATION COST (USD)
| 22 |  | 82 |  |  | 1 |  |  | 11654
| Recalled by the register |  | Records between the dates |  |  | 0 |  |  | Sum of record costs in the period
Above target
| Recalls falling due, next 12 months |  |  |  |  | Calibrations done by month (last 12 months)
| Month | Overdue now | Falling due | Total due |  | Month | Calibrations | On time | Late | OOT finds | Cost
| 2026-10-01 | 3 | 2 | 5 | [6 empty] | USD
| 2026-11-01 | 0 | 1 | 1 |  | 2025-11-01 | 1 | 1 | 0 | 0 | 204
| 2026-12-01 | 0 | 0 | 0 |  | 2025-12-01 | 1 | 1 | 0 | 0 | 87
| 2027-01-01 | 0 | 2 | 2 |  | 2026-01-01 | 2 | 2 | 0 | 0 | 291
| 2027-02-01 | 0 | 5 | 5 |  | 2026-02-01 | 6 | 5 | 1 | 1 | 658
| 2027-03-01 | 0 | 4 | 4 |  | 2026-03-01 | 6 | 5 | 1 | 0 | 370
| 2027-04-01 | 0 | 3 | 3 |  | 2026-04-01 | 8 | 7 | 1 | 3 | 1922
| 2027-05-01 | 0 | 2 | 2 |  | 2026-05-01 | 4 | 3 | 1 | 0 | 755
| 2027-06-01 | 0 | 0 | 0 |  | 2026-06-01 | 1 | 1 | 0 | 0 | 86
| 2027-07-01 | 0 | 0 | 0 |  | 2026-07-01 | 2 | 2 | 0 | 0 | 270
| 2027-08-01 | 0 | 0 | 0 |  | 2026-08-01 | 5 | 5 | 0 | 1 | 462
| 2027-09-01 | 0 | 0 | 0 |  | 2026-09-01 | 2 | 2 | 0 | 0 | 266
[6 empty] | 2026-10-01 | 0 | 0 | 0 | 0 | 0
By gauge type (register at the status date; calibrations in the period)
| Gauge type | In service | Overdue | Due soon | Calibrations (period) | OOT finds (period) | OOT rate | OOT limit
| Caliper | 4 | 0 | 0 | 18 | 1 | 5.556% | 5%
| Micrometer | 3 | 0 | 0 | 8 | 1 | 12.5% | 5%
| Height gauge | 1 | 0 | 0 | 2 | 0 | 0% | 5%
| Bore gauge | 2 | 0 | 0 | 6 | 0 | 0% | 5%
| Plug and pin gauge | 2 | 1 | 0 | 5 | 0 | 0% | 5%
| Thread gauge | 2 | 0 | 1 | 7 | 1 | 14.29% | 5%
| Torque wrench | 3 | 1 | 2 | 23 | 5 | 21.74% | 5%
| Indicator | 2 | 0 | 0 | 4 | 0 | 0% | 5%
| CMM | 1 | 0 | 0 | 2 | 0 | 0% | 5%
| Pressure gauge | 2 | 1 | 0 | 7 | 0 | 0% | 5%
The Dashboard shows the 10 gauge types of the Setup list. If you add more, extend the 'By gauge type' block (see Method) or they will not appear here. To list the overdue gauges, filter the Gauge Register's Due status column.

## Method
Gauge Calibration Log
| How every number is calculated, with assumptions, limits and sources. |  | mfgcalcs.com
What this workbook calculates
A gauge is fit to use when it was calibrated within its interval and found in tolerance. This workbook keeps one register row per gauge and one record per calibration. Each record finds the gauge's previous calibration, so the date it was due and whether it was done on time are calculated, not typed. The register takes the latest record of each gauge, adds the interval to get the next due date, and compares it with the status date on Setup (a typed date, so the file never changes by itself).
Calculations
| Quantity | How it is calculated | Units
| Records | Count of Calibration Records rows with this gauge ID (COUNTIFS). | records
| Last calibrated | Latest Date calibrated of this gauge on Calibration Records: SUMPRODUCT(MAX((ID matches) x date)), blank with no record. | date
| Next due | Last calibrated + interval (calendar days, from the register). | date
| Days to due | Next due - status date. Negative = days overdue. | days
| Due status | Not in service: the status (Out of service, Retired). In service: Overdue when there is no record or the status date is after the next due date; Due soon when the next due date is within the Setup window; otherwise OK. | -
| Previous calibration, due date | For each record: the latest earlier record of the same gauge; due date = previous calibration + the gauge's interval. A gauge's first record has no due date. | date
| Days late, on time | Days late = MAX(0, date calibrated - due date). On time = Yes when calibrated on or before the due date, No after it. | days, -
| On-time calibration | Calibrations that fell due between From and To and were done on time / (records with a due date between From and To + in-service gauges overdue now whose next due date is between them). | %
| Found out of tolerance | Records between From and To with As found = Out of tolerance / all records between them. | %
| Recalls falling due | In-service gauges whose next due date is in each month from the status date on; the first column adds the gauges overdue now. | gauges
| Calibration cost | Sum of the Cost column of records between From and To. Example values; your currency label, no exchange rate. | currency
Assumptions
| • | Intervals are calendar days from the last calibration date, and the interval on the register applies to every record of that gauge (if you change an interval, earlier due dates are recalculated with the new one).
| • | Every calibration of a gauge is logged, in any order; the previous calibration is found by date, not by row position.
| • | As found is the condition before adjustment. A gauge adjusted back into tolerance still counts as an out-of-tolerance find.
| • | Usage-based recall limits (cycles, uses) are not tracked; set the calendar interval from them, or use the Calibration Recall Planning calculator.
Limitations
| • | The workbook records results; it does not hold measurement uncertainty budgets, reference-standard traceability chains or certificate contents. Keep certificates and link them by number.
| • | The impact review column records that a review happened; the review itself (which product, which decision) belongs in your nonconformance or CAPA system.
| • | The 'By gauge type' block has a fixed number of rows (a warning appears on the Dashboard when the list grows); the month blocks show 12 months.
| • | On-time calibration is a measure of recall discipline, not of gauge accuracy; read it next to the out-of-tolerance rate.
Agreement with the live calculator
On-time calibration is the Calibration Schedule Adherence calculator's ratio (calibrations completed on time / calibrations due x 100), with the counts taken from the log: the calculator's default example, 240 on time out of 250 due against a 95% target, gives 96.0% and a gap of -1.0 points in both. The out-of-tolerance rate is the Calibration Failure Rate calculator's failed / completed (8 of 250 = 3.2%). The template's reference implementation is checked against both engines on every build. The workbook adds the register, the due dates and the Dashboard.
Open the Calibration Schedule Adherence Calculator
Self-check
The Verify sheet holds fixed test inputs. Its formulas are the same formula text as the working sheets, placed against those inputs, and each result is compared with a value computed independently by the template's Python reference implementation when the file was built. If you edit a formula on a working sheet, the Verify sheet still tests the original formula text, so it will not detect your change.
Sources and standards
| • | ISO 9001:2015, clause 7.1.5 Monitoring and measuring resources (requirements summarised in our own words, not reproduced).
| • | ISO 10012:2003, Measurement management systems - Requirements for measurement processes and measuring equipment.
| • | ILAC-G24 / OIML D 10:2022, Guidelines for the determination of recalibration intervals of measuring equipment.
| • | MFG Calcs Calibration Schedule Adherence and Calibration Failure Rate calculators: the same two ratios for one period.
Standards are cited by name so you can look them up; no copyrighted standard text or tables are reproduced. Statistical constants used are public.
Version history
| Version | Change | Date
| 1.0.0 | First release. | 15 October 2026
Engineering estimates for planning and improvement work. Verify the results against your own process, data and standards before you rely on them.

## Verify
Gauge Calibration Log
| Self-check: the workbook's formulas recomputed on fixed inputs against an independent reference. | [16 empty] | mfgcalcs.com
| Self-check status |  | PASS |  | 18 of 18 checks pass
This sheet recomputes the workbook's own formulas on fixed test inputs and compares each result with a value computed independently by the template's Python reference implementation when the file was built. Every row should read PASS. The test inputs are fixed and do not change when you edit Setup or the working sheets.
Checks
| No. | Check |  |  |  | Expected (reference) | Workbook result | Difference | Tolerance | Result
| 1 | G1: last calibrated |  |  |  | 2025-09-20 | 2025-09-20 | 0 | 1e-09 | PASS
| 2 | G1: next due (last + 180 days) |  |  |  | 2026-03-19 | 2026-03-19 | 0 | 1e-09 | PASS
| 3 | G1: days to due (negative = overdue) |  |  |  | -12 | -12 | 0 | 1e-09 | PASS
| 4 | G1: due status |  |  |  | Overdue | Overdue |  | exact | PASS
| 5 | G3: OOT finds |  |  |  | 1 | 1 | 0 | 1e-09 | PASS
| 6 | G4: retired gauge is not due |  |  |  | Retired | Retired |  | exact | PASS
| 7 | Row 5: Check reports the duplicate ID |  |  |  | Duplicate gauge ID | Duplicate gauge ID |  | exact | PASS
| 8 | G3: Check reports a calibration after the status date |  |  |  | Calibrated after the status date | Calibrated after the status date |  | exact | PASS
| 9 | Record 2: previous calibration |  |  |  | 2025-04-01 | 2025-04-01 | 0 | 1e-09 | PASS
| 10 | Record 2: due date |  |  |  | 2025-09-28 | 2025-09-28 | 0 | 1e-09 | PASS
| 11 | Record 2: on time |  |  |  | Yes | Yes |  | exact | PASS
| 12 | Record 4: days late |  |  |  | 10 | 10 | 0 | 1e-09 | PASS
| 13 | Record 4: on time |  |  |  | No | No |  | exact | PASS
| 14 | Record 1: first record has no due date | [6 empty] | exact | PASS
| 15 | Record 7: Check reports a date after the status date |  |  |  | Date after the status date | Date after the status date |  | exact | PASS
| 16 | On-time calibration (Dashboard formula) |  |  |  | 40% | 40% | 0 | 1e-09 | PASS
| 17 | Found out of tolerance (Dashboard formula) |  |  |  | 28.57% | 28.57% | 0 | 1e-09 | PASS
| 18 | Gauges overdue (Dashboard formula) |  |  |  | 2 | 2 | 0 | 1e-09 | PASS
Fixed test inputs
White cells are fixed test inputs; blue cells are the workbook's formulas evaluated on them.
Parameters
| Status date |  |  | 2026-03-31
| Due soon window (days) |  |  | 30
| Period from (0 = no limit) |  |  | 0
| Period to (2958465 = no limit) |  |  | 2958465
| On-time target |  |  | 95%
| OOT limit |  |  | 5%
Test table: GaugeTypes
| Type | Notes
Caliper
Torque wrench
Micrometer
Test table: Locations
| Location | Notes
Lab
Test table: Labs
| Calibrated by | Kind | Notes
| Lab A | Internal
Test table: Gauges
| Gauge ID | Description | Type | Location | Range or size | Interval (days) | Status | Records | Last calibrated | Next due | Days to due | Due status | OOT finds | Check | Notes
| G1 | Caliper | Caliper | Lab | 0-150 mm | 180 | In service | 2 | 2025-09-20 | 2026-03-19 | -12 | Overdue | 0 | Duplicate gauge ID
| G2 | Torque wrench | Torque wrench | Lab | 5-25 N m | 90 | In service | 2 | 2025-12-10 | 2026-03-10 | -21 | Overdue | 1 | OK
| G3 | Micrometer | Micrometer | Lab | 0-25 mm | 365 | In service | 2 | 2026-04-02 | 2027-04-02 | 367 | OK | 1 | Calibrated after the status date
| G4 | Old caliper | Caliper | Lab | 0-150 mm | 180 | Retired | 1 | 2025-01-15 | 2025-07-14 | -260 | Retired | 0 | OK
| G1 | Duplicate of G1 | Caliper | Lab | 0-150 mm | 180 | Out of service | 2 | 2025-09-20 | 2026-03-19 | -12 | Out of service | 0 | Duplicate gauge ID
Test table: Calibrations
USD
| Gauge ID | Date calibrated | Calibrated by | As found | Action | As left | Impact review | Certificate no. | Cost | Interval (days) | Previous calibration | Due date | Days late | On time | OOT (1/0) | View date | Check | Notes
| G1 | 2025-04-01 | Lab A | In tolerance | None | In tolerance | Not needed | C | 50 | 180 |  |  |  |  | 0 | 2025-04-01 | OK
| G1 | 2025-09-20 | Lab A | In tolerance | None | In tolerance | Not needed | C | 50 | 180 | 2025-04-01 | 2025-09-28 | 0 | Yes | 0 | 2025-09-20 | OK
| G2 | 2025-09-01 | Lab A | In tolerance | None | In tolerance | Not needed | C | 50 | 90 |  |  |  |  | 0 | 2025-09-01 | OK
| G2 | 2025-12-10 | Lab A | Out of tolerance | None | In tolerance | Closed | C | 50 | 90 | 2025-09-01 | 2025-11-30 | 10 | No | 1 | 2025-12-10 | OK
| G3 | 2025-04-20 | Lab A | Out of tolerance | None | In tolerance | Open | C | 50 | 365 |  |  |  |  | 1 | 2025-04-20 | OK
| G4 | 2025-01-15 | Lab A | In tolerance | None | In tolerance | Not needed | C | 50 | 180 |  |  |  |  | 0 | 2025-01-15 | OK
| G3 | 2026-04-02 | Lab A | In tolerance | None | In tolerance | Not needed | C | 50 | 365 | 2025-04-20 | 2026-04-20 | 0 | Yes | 0 | 2026-04-02 | Date after the status date
Formulas:
Tolerance = IF(tblVerifyGauges[[#This Row],[Gauge ID]]="","",IF(tblVerifyGauges[[#This Row],[Records]]=0,"",SUMPRODUCT(MAX((tblVerifyCalibrations[Gauge ID]=tblVerifyGauges[[#This Row],[Gauge ID]])*tblVerifyCalibrations[Date calibrated]))))