## Start Here
First Article Inspection Tracker
| Read this first: what the workbook does and how to use it. |  |  |  | mfgcalcs.com
First Article Inspection Tracker
Record every first article and each ballooned characteristic, and see which FAIs are open or overdue, which failed, and which characteristics sit near their limits.
For: Quality engineers, inspectors and quality managers at machine shops, aerospace and medical device suppliers who run first article inspections.
Version 1.0.0 · updated 15 October 2026
Quick start
| 1. | On Setup, set the status date, the due-soon window, the near-limit share, your pass target and the time standards, then replace the example customers, reasons, categories and inspectors.
| 2. | On FAI Register, add one row per first article: FAI number, part, revision, customer, reason, full or partial, inspector and planned date.
| 3. | On Characteristic Results, add one row per ballooned characteristic: number, description, category, unit, nominal and tolerances; then type each measured value (or the attribute result) and the gauge.
| 4. | Type the completed date on the register when the FAI is finished; read the Check columns and fix anything that is not OK.
| 5. | Move the status date forward and open the Dashboard for open, overdue and failed FAIs and the characteristics near their limits.
What is in this workbook
|  | Start Here | Read this first: what the workbook does and how to use it.
|  | Setup | Status date, due-soon window, near-limit share, your pass target, time standards, and the customer, reason, category and inspector lists.
|  | FAI Register | One row per first article: part, revision, customer, reason, dates. Counts, result and time come from the results.
|  | Characteristic Results | One row per ballooned characteristic: requirement, measured value or attribute result, gauge. Limits and result are calculated.
|  | Dashboard | Open, overdue and failed first articles, measured progress, and characteristics that failed or sit near a limit.
|  | Method | How every number is calculated, with assumptions, limits and sources.
|  | Verify | Self-check: the workbook's formulas recomputed on fixed inputs against an independent reference.
Colour key
|  | Input | Yellow cells are yours: type a value or pick from the list. Each one says what it accepts when you click it.
|  | Calculated | Blue cells are formulas. They update as you type; overwrite one and that row stops calculating.
|  | Note | Grey boxes are guidance and labelled example data.
|  | Status words | On target / PASS / OK | Near target / Check | Below target / FAIL
Status is always written in words; the colour only repeats it, so the workbook reads the same in black-and-white print and for colour-blind readers.
Self-check and links
|  | Self-check | PASS | 21 of 21 checks pass
The Verify sheet recomputes this workbook's formulas on fixed test inputs and compares them with an independent reference calculation. PASS means every check agreed when you opened the file.
|  | Run it live | First Article Inspection Time Calculator on mfgcalcs.com
|  | Latest version | mfgcalcs.com/templates/first-article-inspection
|  | More free templates | mfgcalcs.com/templates
|  | Version | 1.0.0 (updated 15 October 2026)
About the example data
Every number already in this workbook is example data for Corvane Precision, a fictional business invented for this template, so the dashboard and charts show something meaningful on day one. It covers eleven first articles for three fictional customers from June to October 2026 (status date 9 October 2026), generated from a fixed seed. To clear it: on each working sheet, select the example rows of the table, right-click and choose Delete > Table Rows. The formulas stay, and every new row you type below the table picks them up.
Good to know
| • | Sheets Start Here, Dashboard, Method, Verify are protected without a password so formulas and layout are not overwritten by accident. To change them: Review > Unprotect Sheet.
| • | Setup and the working sheets are not protected, so tables grow as you add rows.
| • | Works in Excel 2016 and later, Microsoft 365, LibreOffice 24 and Google Sheets (File > Import). No macros, no external links, no add-ins.
| • | Money is shown in the currency you type on Setup; no exchange rates are applied.
Free from MFG Calcs - keep this credit when you share it.
Engineering estimates for planning and improvement work. Verify the results against your own process, data and standards before you rely on them.

## Setup
First Article Inspection Tracker
| Status date, due-soon window, near-limit share, your pass target, time standards, and the customer, reason, category and inspector lists. |  | mfgcalcs.com
Site and status date
| Company or site name | Corvane Precision (example)
| Status date (as of) | 2026-10-09
| Due soon window | 7 | days
| Near-limit share of tolerance | 80%
| Completed FAIs that pass, target | 90%
Inspection time standards (your own estimates)
| Measurement time per characteristic | 3 | min per characteristic
| Setup and fixturing time per FAI | 36 | min
| Planning and reporting time per FAI | 45 | min
Targets and time standards are yours to set; nothing here assumes an industry figure. Estimated time per FAI = characteristics x minutes per characteristic + setup + reporting (the First Article Inspection Time calculator's formula).
Lists that feed the dropdowns
Edit, add or remove rows; the register and results dropdowns read these lists. Which events need a full or partial FAI is set by your customer and the standard you work to (for example AS9102 in aerospace). Keep names unique.
Customers
| Customer | Notes
| Halcyon Aerostructures (example) | Aerospace; FAI report on the customer's form (fictional)
| Meridian Surgical (example) | Medical devices (fictional)
| Tellis Pumps (example) | Industrial pumps (fictional)
Reasons for an FAI
| Reason | Notes
| New part | First production run of a new part number
| Design change | Drawing revision that affects form, fit or function
| Process or source change | New machine, method, site or sub-supplier
| Production lapse | No production for a long period (your customer sets how long)
| Corrective action | Re-inspection of failed characteristics after a fix
Characteristic categories
| Category | Notes
| Dimension | Sizes, lengths, diameters
| Geometric tolerance | Position, flatness, runout and other GD&T
| Thread | Thread gauges, go/no-go
| Surface finish | Roughness, Ra
| Note or specification | Drawing notes, finishes, marking
| Material or process cert | Material, heat treat, plating certificates
Inspectors
| Inspector | Notes
| R. Okafor | CMM programmer
| L. Brandt | Inspector
| S. Iyer | Quality engineer

## FAI Register
First Article Inspection Tracker
| One row per first article: part, revision, customer, reason, dates. Counts, result and time come from the results. | [18 empty] | mfgcalcs.com
Example data for Corvane Precision (fictional). Replace it with your own: select the example rows, right-click, Delete > Table Rows (do the same on Characteristic Results). Yellow = you type; blue = calculated; Check names any problem. Due status is measured to the status date on Setup.
| FAI no. | Part number | Rev | Part name | Customer | Reason | FAI type | Inspector | Planned date | Completed | Characteristics | Measured | Nonconforming | Measured share | Result | Due status | Est. time (min) | Open | Check | Notes
| F26-031 | HB-1104 | C | Hinge bracket | Halcyon Aerostructures (example) | New part | Full | R. Okafor | 2026-06-12 | 2026-06-11 | 14 | 14 | 0 | 100% | PASS | Complete | 123 | 0 | OK
| F26-032 | MB-2210 | A | Mounting block | Tellis Pumps (example) | New part | Full | L. Brandt | 2026-06-26 | 2026-06-30 | 12 | 12 | 1 | 100% | FAIL | Complete | 117 | 0 | OK | Bore position out: fixture re-shimmed, see partial FAI F26-036
| F26-033 | SC-0412 | B | Clamp jaw | Meridian Surgical (example) | Design change | Partial | S. Iyer | 2026-07-10 | 2026-07-09 | 4 | 4 | 0 | 100% | PASS | Complete | 93 | 0 | OK
| F26-034 | PH-7701 | D | Pump housing | Tellis Pumps (example) | Process or source change | Full | R. Okafor | 2026-07-24 | 2026-07-28 | 12 | 12 | 0 | 100% | PASS | Complete | 117 | 0 | OK
| F26-035 | SP-3300 | A | Spindle shaft | Meridian Surgical (example) | New part | Full | L. Brandt | 2026-08-07 | 2026-08-06 | 9 | 9 | 1 | 100% | FAIL | Complete | 108 | 0 | OK | Journal finish out: grinding wheel dressing changed, see F26-037
| F26-036 | MB-2210 | A | Mounting block | Tellis Pumps (example) | Corrective action | Partial | L. Brandt | 2026-08-14 | 2026-08-13 | 3 | 3 | 0 | 100% | PASS | Complete | 90 | 0 | OK
| F26-037 | SP-3300 | A | Spindle shaft | Meridian Surgical (example) | Corrective action | Partial | S. Iyer | 2026-09-04 | 2026-09-03 | 3 | 3 | 0 | 100% | PASS | Complete | 90 | 0 | OK
| F26-038 | FT-5120 | B | Fitting body | Tellis Pumps (example) | Production lapse | Full | R. Okafor | 2026-09-25 | 2026-09-29 | 6 | 6 | 0 | 100% | PASS | Complete | 99 | 0 | OK
| F26-039 | HB-1180 | A | Hinge bracket, long | Halcyon Aerostructures (example) | New part | Full | R. Okafor | 2026-10-07 |  | 16 | 10 | 0 | 62.5% | In progress | Overdue | 129 | 1 | OK | CMM program for the pocket features in proof-out
| F26-040 | VC-0090 | A | Valve cap | Tellis Pumps (example) | New part | Full | L. Brandt | 2026-10-14 |  | 7 | 0 | 0 | 0% | In progress | Due soon | 102 | 1 | OK
| F26-041 | SC-0415 | A | Clamp jaw, wide | Meridian Surgical (example) | New part | Full | S. Iyer | 2026-10-30 |  | 7 | 0 | 0 | 0% | In progress | OK | 102 | 1 | OK

## Characteristic Results
First Article Inspection Tracker
| One row per ballooned characteristic: requirement, measured value or attribute result, gauge. Limits and result are calculated. | [19 empty] | mfgcalcs.com
Example data for Corvane Precision (fictional). Each row is one ballooned characteristic in its own unit (the aerospace parts are in inches, the others in mm); nothing is converted. Two readings are out of tolerance on purpose (FAI F26-032 and F26-035) and were re-inspected by partial FAIs.
| FAI no. | Char no. | Characteristic | Category | Unit | Nominal | Lower tol | Upper tol | Measured | Attribute result | Gauge | Part number | Open FAI | LSL | USL | Deviation | Tolerance used | Result | Near limit | Check | Notes
| F26-031 | 1 | Overall length | Dimension | in | 4.25 | -0.01 | 0.01 | 4.253 |  | CMM-080 | HB-1104 | 0 | 4.24 | 4.26 | 0.003 | 30% | PASS | 0 | OK
| F26-031 | 2 | Width | Dimension | in | 1.5 | -0.005 | 0.005 | 1.498 |  | HGT-020 | HB-1104 | 0 | 1.495 | 1.505 | -0.002 | 40% | PASS | 0 | OK
| F26-031 | 3 | Thickness | Dimension | in | 0.375 | -0.005 | 0.005 | 0.373 |  | MIC-010 | HB-1104 | 0 | 0.37 | 0.38 | -0.002 | 40% | PASS | 0 | OK
| F26-031 | 4 | Hinge bore dia | Dimension | in | 0.3125 | 0 | 0.001 | 0.313 |  | MIC-010 | HB-1104 | 0 | 0.3125 | 0.3135 | 0.0005 | 0% | PASS | 0 | OK
| F26-031 | 5 | Hinge bore position | Geometric tolerance | in | 0 |  | 0.005 | 0.0031 |  | MIC-010 | HB-1104 | 0 |  | 0.005 | 0.0031 | 62% | PASS | 0 | OK
| F26-031 | 6 | Mounting face flatness | Geometric tolerance | in | 0 |  | 0.002 | 0.0003 |  | CAL-001 | HB-1104 | 0 |  | 0.002 | 0.0003 | 15% | PASS | 0 | OK
| F26-031 | 7 | Hole dia, 4 places | Dimension | in | 0.201 | -0.002 | 0.003 | 0.2013 |  | MIC-010 | HB-1104 | 0 | 0.199 | 0.204 | 0.0003 | 8% | PASS | 0 | OK
| F26-031 | 8 | Hole pattern position | Geometric tolerance | in | 0 |  | 0.007 | 0.0028 |  | CMM-080 | HB-1104 | 0 |  | 0.007 | 0.0028 | 40% | PASS | 0 | OK
| F26-031 | 9 | Thread 10-32 UNF-2B, 2 places | Thread | n/a |  |  |  |  | Conforms | THR-050 | HB-1104 | 0 |  |  |  |  | PASS | 0 | OK
| F26-031 | 10 | Face A finish | Surface finish | uin Ra | 0 |  | 63 | 37 |  | SRF-100 | HB-1104 | 0 |  | 63 | 37 | 58.73% | PASS | 0 | OK
| F26-031 | 11 | Edge break | Dimension | in | 0.01 | -0.005 | 0.005 | 0.0101 |  | HGT-020 | HB-1104 | 0 | 0.005 | 0.015 | 0.0001 | 2% | PASS | 0 | OK
| F26-031 | 12 | Anodise, type II, black | Note or specification | n/a |  |  |  |  | Conforms | THR-050 | HB-1104 | 0 |  |  |  |  | PASS | 0 | OK
| F26-031 | 13 | Part marking per drawing note | Note or specification | n/a |  |  |  |  | Conforms | Cert review | HB-1104 | 0 |  |  |  |  | PASS | 0 | OK
| F26-031 | 14 | Material 7075-T7351 certificate | Material or process cert | n/a |  |  |  |  | Conforms | Cert review | HB-1104 | 0 |  |  |  |  | PASS | 0 | OK
| F26-032 | 1 | Overall length | Dimension | mm | 120 | -0.1 | 0.1 | 119.962 |  | CMM-080 | MB-2210 | 0 | 119.9 | 120.1 | -0.038 | 38% | PASS | 0 | OK
| F26-032 | 2 | Height | Dimension | mm | 45 | -0.05 | 0.05 | 44.996 |  | MIC-011 | MB-2210 | 0 | 44.95 | 45.05 | -0.004 | 8% | PASS | 0 | OK
| F26-032 | 3 | Bore dia 20 H7 | Dimension | mm | 20 | 0 | 0.021 | 20.02 |  | BOR-030 | MB-2210 | 0 | 20 | 20.021 | 0.02 | 90.48% | PASS | 1 | OK
| F26-032 | 4 | Bore position | Geometric tolerance | mm | 0 |  | 0.05 | 0.064 |  | MIC-011 | MB-2210 | 0 |  | 0.05 | 0.064 | 128% | FAIL | 0 | OK | Out of tolerance: NCR raised
| F26-032 | 5 | Bore perpendicularity | Geometric tolerance | mm | 0 |  | 0.02 | 0.013 |  | CAL-002 | MB-2210 | 0 |  | 0.02 | 0.013 | 65% | PASS | 0 | OK
| F26-032 | 6 | Slot width | Dimension | mm | 8 | 0 | 0.05 | 8.018 |  | MIC-011 | MB-2210 | 0 | 8 | 8.05 | 0.018 | 28% | PASS | 0 | OK
| F26-032 | 7 | Counterbore depth | Dimension | mm | 6.5 | -0.1 | 0.1 | 6.511 |  | CAL-002 | MB-2210 | 0 | 6.4 | 6.6 | 0.011 | 11% | PASS | 0 | OK
| F26-032 | 8 | Thread M8x1.25-6H, 4 places | Thread | n/a |  |  |  |  | Conforms | THR-050 | MB-2210 | 0 |  |  |  |  | PASS | 0 | OK
| F26-032 | 9 | Bore finish | Surface finish | um Ra | 0 |  | 0.8 | 0.22 |  | SRF-100 | MB-2210 | 0 |  | 0.8 | 0.22 | 27.5% | PASS | 0 | OK
| F26-032 | 10 | Chamfer angle | Dimension | deg | 45 | -1 | 1 | 45.2 |  | CMM-080 | MB-2210 | 0 | 44 | 46 | 0.2 | 20% | PASS | 0 | OK
| F26-032 | 11 | Material 6082-T6 certificate | Material or process cert | n/a |  |  |  |  | Conforms | Cert review | MB-2210 | 0 |  |  |  |  | PASS | 0 | OK
| F26-032 | 12 | Deburr all edges | Note or specification | n/a |  |  |  |  | Conforms | Cert review | MB-2210 | 0 |  |  |  |  | PASS | 0 | OK
| F26-033 | 1 | Jaw length | Dimension | mm | 32 | -0.05 | 0.05 | 31.999 |  | CAL-002 | SC-0412 | 0 | 31.95 | 32.05 | -0.001 | 2% | PASS | 0 | OK
| F26-033 | 2 | Jaw width | Dimension | mm | 4.2 | -0.02 | 0.02 | 4.201 |  | CAL-002 | SC-0412 | 0 | 4.18 | 4.22 | 0.001 | 5% | PASS | 0 | OK
| F26-033 | 3 | Serration pitch | Dimension | mm | 0.6 | -0.01 | 0.01 | 0.605 |  | BOR-030 | SC-0412 | 0 | 0.59 | 0.61 | 0.005 | 50% | PASS | 0 | OK
| F26-033 | 6 | Passivation certificate | Material or process cert | n/a |  |  |  |  | Conforms | Cert review | SC-0412 | 0 |  |  |  |  | PASS | 0 | OK
| F26-034 | 1 | Flange dia | Dimension | mm | 180 | -0.2 | 0.2 | 179.967 |  | MIC-011 | PH-7701 | 0 | 179.8 | 180.2 | -0.033 | 16.5% | PASS | 0 | OK
| F26-034 | 2 | Bore dia 62 H7 | Dimension | mm | 62 | 0 | 0.03 | 62.028 |  | CMM-080 | PH-7701 | 0 | 62 | 62.03 | 0.028 | 86.67% | PASS | 1 | OK
| F26-034 | 3 | Bore runout to datum A | Geometric tolerance | mm | 0 |  | 0.03 | 0.027 |  | CMM-080 | PH-7701 | 0 |  | 0.03 | 0.027 | 90% | PASS | 1 | OK
| F26-034 | 4 | Face flatness | Geometric tolerance | mm | 0 |  | 0.05 | 0.013 |  | MIC-011 | PH-7701 | 0 |  | 0.05 | 0.013 | 26% | PASS | 0 | OK
| F26-034 | 5 | Bolt circle position, 6 holes | Geometric tolerance | mm | 0 |  | 0.1 | 0.037 |  | BOR-030 | PH-7701 | 0 |  | 0.1 | 0.037 | 37% | PASS | 0 | OK
| F26-034 | 6 | Seal groove dia | Dimension | mm | 70 | -0.05 | 0.05 | 69.996 |  | CAL-002 | PH-7701 | 0 | 69.95 | 70.05 | -0.004 | 8% | PASS | 0 | OK
| F26-034 | 7 | Seal groove width | Dimension | mm | 3.6 | 0 | 0.1 | 3.646 |  | CMM-080 | PH-7701 | 0 | 3.6 | 3.7 | 0.046 | 8% | PASS | 0 | OK
| F26-034 | 8 | Seal groove finish | Surface finish | um Ra | 0 |  | 1.6 | 1 |  | SRF-100 | PH-7701 | 0 |  | 1.6 | 1 | 62.5% | PASS | 0 | OK
| F26-034 | 9 | Port thread G1/2 | Thread | n/a |  |  |  |  | Conforms | THR-050 | PH-7701 | 0 |  |  |  |  | PASS | 0 | OK
| F26-034 | 10 | Overall height | Dimension | mm | 95 | -0.1 | 0.1 | 94.99 |  | MIC-011 | PH-7701 | 0 | 94.9 | 95.1 | -0.01 | 10% | PASS | 0 | OK
| F26-034 | 11 | Casting certificate EN-GJS-500-7 | Material or process cert | n/a |  |  |  |  | Conforms | Cert review | PH-7701 | 0 |  |  |  |  | PASS | 0 | OK
| F26-034 | 12 | Pressure test per note 4 | Note or specification | n/a |  |  |  |  | Conforms | Visual | PH-7701 | 0 |  |  |  |  | PASS | 0 | OK
| F26-035 | 1 | Bearing journal dia | Dimension | mm | 25 | -0.013 | 0 | 24.995 |  | MIC-011 | SP-3300 | 0 | 24.987 | 25 | -0.005 | 23.08% | PASS | 0 | OK
| F26-035 | 2 | Journal runout | Geometric tolerance | mm | 0 |  | 0.01 | 0.002 |  | CAL-002 | SP-3300 | 0 |  | 0.01 | 0.002 | 20% | PASS | 0 | OK
| F26-035 | 3 | Journal finish | Surface finish | um Ra | 0 |  | 0.4 | 0.54 |  | SRF-100 | SP-3300 | 0 |  | 0.4 | 0.54 | 135% | FAIL | 0 | OK | Out of tolerance: NCR raised
| F26-035 | 4 | Overall length | Dimension | mm | 210 | -0.1 | 0.1 | 209.989 |  | BOR-030 | SP-3300 | 0 | 209.9 | 210.1 | -0.011 | 11% | PASS | 0 | OK
| F26-035 | 5 | Keyway width | Dimension | mm | 8 | -0.036 | 0 | 7.989 |  | CMM-080 | SP-3300 | 0 | 7.964 | 8 | -0.011 | 38.89% | PASS | 0 | OK
| F26-035 | 6 | Shoulder length | Dimension | mm | 42 | -0.05 | 0.05 | 42.002 |  | BOR-030 | SP-3300 | 0 | 41.95 | 42.05 | 0.002 | 4% | PASS | 0 | OK
| F26-035 | 7 | Thread M12x1.5-6g | Thread | n/a |  |  |  |  | Conforms | THR-050 | SP-3300 | 0 |  |  |  |  | PASS | 0 | OK
| F26-035 | 8 | Hardness 58-62 HRC certificate | Material or process cert | n/a |  |  |  |  | Conforms | Cert review | SP-3300 | 0 |  |  |  |  | PASS | 0 | OK
| F26-035 | 9 | Centre holes per note 2 | Note or specification | n/a |  |  |  |  | Conforms | THR-050 | SP-3300 | 0 |  |  |  |  | PASS | 0 | OK
| F26-036 | 3 | Bore dia 20 H7 | Dimension | mm | 20 | 0 | 0.021 | 20.01 |  | BOR-030 | MB-2210 | 0 | 20 | 20.021 | 0.01 | 4.762% | PASS | 0 | OK
| F26-036 | 4 | Bore position | Geometric tolerance | mm | 0 |  | 0.05 | 0.024 |  | CAL-002 | MB-2210 | 0 |  | 0.05 | 0.024 | 48% | PASS | 0 | OK
| F26-036 | 5 | Bore perpendicularity | Geometric tolerance | mm | 0 |  | 0.02 | 0.011 |  | CAL-002 | MB-2210 | 0 |  | 0.02 | 0.011 | 55% | PASS | 0 | OK
| F26-037 | 1 | Bearing journal dia | Dimension | mm | 25 | -0.013 | 0 | 24.99 |  | BOR-030 | SP-3300 | 0 | 24.987 | 25 | -0.01 | 53.85% | PASS | 0 | OK
| F26-037 | 2 | Journal runout | Geometric tolerance | mm | 0 |  | 0.01 | 0.003 |  | CMM-080 | SP-3300 | 0 |  | 0.01 | 0.003 | 30% | PASS | 0 | OK
| F26-037 | 3 | Journal finish | Surface finish | um Ra | 0 |  | 0.4 | 0.11 |  | SRF-100 | SP-3300 | 0 |  | 0.4 | 0.11 | 27.5% | PASS | 0 | OK
| F26-038 | 1 | Body length | Dimension | mm | 48 | -0.1 | 0.1 | 48.025 |  | MIC-011 | FT-5120 | 0 | 47.9 | 48.1 | 0.025 | 25% | PASS | 0 | OK
| F26-038 | 2 | Hex across flats | Dimension | mm | 27 | -0.2 | 0 | 26.982 |  | BOR-030 | FT-5120 | 0 | 26.8 | 27 | -0.018 | 82% | PASS | 1 | OK
| F26-038 | 3 | Bore dia | Dimension | mm | 12 | 0 | 0.05 | 12.029 |  | CMM-080 | FT-5120 | 0 | 12 | 12.05 | 0.029 | 16% | PASS | 0 | OK
| F26-038 | 4 | Cone angle | Dimension | deg | 24 | -0.5 | 0.5 | 23.9 |  | CMM-080 | FT-5120 | 0 | 23.5 | 24.5 | -0.1 | 20% | PASS | 0 | OK
| F26-038 | 5 | Thread M22x1.5 | Thread | n/a |  |  |  |  | Conforms | THR-050 | FT-5120 | 0 |  |  |  |  | PASS | 0 | OK
| F26-038 | 6 | Zinc-nickel plating certificate | Material or process cert | n/a |  |  |  |  | Conforms | Cert review | FT-5120 | 0 |  |  |  |  | PASS | 0 | OK
| F26-039 | 1 | Overall length | Dimension | in | 6.75 | -0.01 | 0.01 | 6.751 |  | CAL-001 | HB-1180 | 1 | 6.74 | 6.76 | 0.001 | 10% | PASS | 0 | OK
| F26-039 | 2 | Width | Dimension | in | 1.5 | -0.005 | 0.005 | 1.5008 |  | HGT-020 | HB-1180 | 1 | 1.495 | 1.505 | 0.0008 | 16% | PASS | 0 | OK
| F26-039 | 3 | Thickness | Dimension | in | 0.375 | -0.005 | 0.005 | 0.374 |  | CAL-001 | HB-1180 | 1 | 0.37 | 0.38 | -0.001 | 20% | PASS | 0 | OK
| F26-039 | 4 | Hinge bore dia | Dimension | in | 0.3125 | 0 | 0.001 | 0.313 |  | CMM-080 | HB-1180 | 1 | 0.3125 | 0.3135 | 0.0005 | 0% | PASS | 0 | OK
| F26-039 | 5 | Hinge bore position | Geometric tolerance | in | 0 |  | 0.005 | 0.0044 |  | CMM-080 | HB-1180 | 1 |  | 0.005 | 0.0044 | 88% | PASS | 1 | OK
| F26-039 | 6 | Mounting face flatness | Geometric tolerance | in | 0 |  | 0.002 | 0.0005 |  | MIC-010 | HB-1180 | 1 |  | 0.002 | 0.0005 | 25% | PASS | 0 | OK
| F26-039 | 7 | Hole dia, 6 places | Dimension | in | 0.201 | -0.002 | 0.003 | 0.2015 |  | CAL-001 | HB-1180 | 1 | 0.199 | 0.204 | 0.0005 | 0% | PASS | 0 | OK
| F26-039 | 8 | Hole pattern position | Geometric tolerance | in | 0 |  | 0.007 | 0.0031 |  | CAL-001 | HB-1180 | 1 |  | 0.007 | 0.0031 | 44.29% | PASS | 0 | OK
| F26-039 | 9 | Lightening pocket depth | Dimension | in | 0.25 | -0.005 | 0.005 | 0.2502 |  | HGT-020 | HB-1180 | 1 | 0.245 | 0.255 | 0.0002 | 4% | PASS | 0 | OK
| F26-039 | 10 | Pocket corner radius | Dimension | in | 0.125 | -0.01 | 0.01 | 0.1225 |  | CAL-001 | HB-1180 | 1 | 0.115 | 0.135 | -0.0025 | 25% | PASS | 0 | OK
| F26-039 | 11 | Thread 10-32 UNF-2B, 3 places | Thread | n/a | [6 empty] | HB-1180 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-039 | 12 | Face A finish | Surface finish | uin Ra | 0 |  | 63 |  |  |  | HB-1180 | 1 |  | 63 |  |  | Not measured | 0 | OK
| F26-039 | 13 | Edge break | Dimension | in | 0.01 | -0.005 | 0.005 |  |  |  | HB-1180 | 1 | 0.005 | 0.015 |  |  | Not measured | 0 | OK
| F26-039 | 14 | Anodise, type II, black | Note or specification | n/a | [6 empty] | HB-1180 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-039 | 15 | Part marking per drawing note | Note or specification | n/a | [6 empty] | HB-1180 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-039 | 16 | Material 7075-T7351 certificate | Material or process cert | n/a | [6 empty] | HB-1180 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-040 | 1 | Cap dia | Dimension | mm | 38 | -0.05 | 0.05 |  |  |  | VC-0090 | 1 | 37.95 | 38.05 |  |  | Not measured | 0 | OK
| F26-040 | 2 | Cap height | Dimension | mm | 14 | -0.1 | 0.1 |  |  |  | VC-0090 | 1 | 13.9 | 14.1 |  |  | Not measured | 0 | OK
| F26-040 | 3 | Seat dia | Dimension | mm | 18 | 0 | 0.02 |  |  |  | VC-0090 | 1 | 18 | 18.02 |  |  | Not measured | 0 | OK
| F26-040 | 4 | Seat runout | Geometric tolerance | mm | 0 |  | 0.02 |  |  |  | VC-0090 | 1 |  | 0.02 |  |  | Not measured | 0 | OK
| F26-040 | 5 | Seat finish | Surface finish | um Ra | 0 |  | 0.8 |  |  |  | VC-0090 | 1 |  | 0.8 |  |  | Not measured | 0 | OK
| F26-040 | 6 | Thread M30x1.5 | Thread | n/a | [6 empty] | VC-0090 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-040 | 7 | Material 316L certificate | Material or process cert | n/a | [6 empty] | VC-0090 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-041 | 1 | Jaw length | Dimension | mm | 36 | -0.05 | 0.05 |  |  |  | SC-0415 | 1 | 35.95 | 36.05 |  |  | Not measured | 0 | OK
| F26-041 | 2 | Jaw width | Dimension | mm | 6 | -0.02 | 0.02 |  |  |  | SC-0415 | 1 | 5.98 | 6.02 |  |  | Not measured | 0 | OK
| F26-041 | 3 | Serration pitch | Dimension | mm | 0.6 | -0.01 | 0.01 |  |  |  | SC-0415 | 1 | 0.59 | 0.61 |  |  | Not measured | 0 | OK
| F26-041 | 4 | Pivot hole dia | Dimension | mm | 2 | 0 | 0.012 |  |  |  | SC-0415 | 1 | 2 | 2.012 |  |  | Not measured | 0 | OK
| F26-041 | 5 | Pivot hole position | Geometric tolerance | mm | 0 |  | 0.02 |  |  |  | SC-0415 | 1 |  | 0.02 |  |  | Not measured | 0 | OK
| F26-041 | 6 | Passivation certificate | Material or process cert | n/a | [6 empty] | SC-0415 | 1 |  |  |  |  | Not measured | 0 | OK
| F26-041 | 7 | Laser mark legible | Note or specification | n/a | [6 empty] | SC-0415 | 1 |  |  |  |  | Not measured | 0 | OK

## Dashboard
First Article Inspection Tracker
| Open, overdue and failed first articles, measured progress, and characteristics that failed or sit near a limit. | [8 empty] | mfgcalcs.com
Status date 9 Oct 2026: 11 FAIs and 93 characteristics on the logs.
| OPEN FAIS |  | FAIS OVERDUE |  |  | MEASURED, OPEN FAIS |  |  | COMPLETED FAIS PASSED
| 3 |  | 1 |  |  | 33.33% |  |  | 75%
| No completed date yet |  | 0 |  |  | Characteristics with a result |  |  | 90%
|  |  | Above target | [5 empty] | Below target
| NONCONFORMING CHARACTERISTICS |  | NEAR LIMIT |  |  | INSPECTION TIME, OPEN FAIS (H) |  |  | CHARACTERISTICS RECORDED
| 2 |  | 5 |  |  | 5.55 |  |  | 93
| FAIL on the results log |  | Conforming, past the near-limit share |  |  | Estimate from the Setup time standards |  |  | All FAIs
By FAI (first 12 on the register)
| FAI no. | Part |  | PASS | FAIL | Not measured | Near limit | Planned | Result | Due status
| F26-031 | F26-031 HB-1104 |  | 14 | 0 | 0 | 0 | 2026-06-12 | PASS | Complete
| F26-032 | F26-032 MB-2210 |  | 11 | 1 | 0 | 1 | 2026-06-26 | FAIL | Complete
| F26-033 | F26-033 SC-0412 |  | 4 | 0 | 0 | 0 | 2026-07-10 | PASS | Complete
| F26-034 | F26-034 PH-7701 |  | 12 | 0 | 0 | 2 | 2026-07-24 | PASS | Complete
| F26-035 | F26-035 SP-3300 |  | 8 | 1 | 0 | 0 | 2026-08-07 | FAIL | Complete
| F26-036 | F26-036 MB-2210 |  | 3 | 0 | 0 | 0 | 2026-08-14 | PASS | Complete
| F26-037 | F26-037 SP-3300 |  | 3 | 0 | 0 | 0 | 2026-09-04 | PASS | Complete
| F26-038 | F26-038 FT-5120 |  | 6 | 0 | 0 | 1 | 2026-09-25 | PASS | Complete
| F26-039 | F26-039 HB-1180 |  | 10 | 0 | 6 | 1 | 2026-10-07 | In progress | Overdue
| F26-040 | F26-040 VC-0090 |  | 0 | 0 | 7 | 0 | 2026-10-14 | In progress | Due soon
| F26-041 | F26-041 SC-0415 |  | 0 | 0 | 7 | 0 | 2026-10-30 | In progress | OK
By characteristic category (all FAIs)
| Category | Characteristics | Measured | Nonconforming | Near limit | Nonconforming share
| Dimension | 45 | 37 | 0 | 3 | 0%
| Geometric tolerance | 17 | 15 | 1 | 2 | 6.667%
| Thread | 7 | 5 | 0 | 0 | 0%
| Surface finish | 7 | 5 | 1 | 0 | 20%
| Note or specification | 8 | 5 | 0 | 0 | 0%
| Material or process cert | 9 | 6 | 0 | 0 | 0%
The Dashboard shows the first 12 FAIs on the register and the 6 categories of the Setup list. Move finished FAIs to an archive copy of the workbook when the register grows, or extend the blocks (see Method).
Formulas:
Planned = IF(B38="","",INDEX(tblFAIs[Planned date],MATCH(B38,tblFAIs[FAI no.],0)))

## Method
First Article Inspection Tracker
| How every number is calculated, with assumptions, limits and sources. |  | mfgcalcs.com
What this workbook calculates
A first article inspection proves that the production process makes a part that meets every requirement of its drawing and specifications. This workbook keeps one register row per FAI and one results row per ballooned characteristic, in that characteristic's own unit. Limits come from the nominal and signed tolerances; a reading outside them, or an attribute that does not conform, is a FAIL; an FAI passes when every characteristic is measured and none fails. Dates are compared with the status date on Setup, so the file never changes by itself.
Calculations
| Quantity | How it is calculated | Units
| LSL, USL | Nominal + lower tolerance; nominal + upper tolerance. A blank lower tolerance means an upper limit only (position, flatness, runout, Ra), with 0 as the natural floor. | char. unit
| Deviation | Measured - nominal. | char. unit
| Tolerance used | Two limits: ¦measured - (LSL + USL) / 2¦ / ((USL - LSL) / 2), so 0% is mid-band and 100% is at a limit. Upper limit only: measured / USL. | %
| Result (characteristic) | Attribute: PASS when Conforms, FAIL otherwise. Variable: Not measured while blank; FAIL below LSL or above USL; else PASS. | -
| Near limit | 1 when a PASS reading's tolerance used is at least the Setup near-limit share. | count
| Characteristics, measured, nonconforming | Results rows for the FAI; those with PASS or FAIL; those with FAIL. | count
| Result (FAI) | FAIL if any characteristic fails; In progress while any is not measured; PASS when all are measured and pass. | -
| Due status | Complete when the completed date is typed; else Overdue after the planned date, Due soon within the window, otherwise OK. | -
| Est. time | Characteristics x minutes per characteristic + setup and fixturing + planning and reporting (Setup): the First Article Inspection Time calculator's formula. | min
| Completed FAIs passed | Completed FAIs with result PASS / completed FAIs with characteristics. | %
| Measured, open FAIs | Characteristics with PASS or FAIL on open FAIs / all characteristics on open FAIs. | %
Assumptions
| • | Each reading is compared exactly with its limits at the resolution you type; measurement uncertainty and guard bands are not applied (see the Bilateral Tolerance calculator for a guard band).
| • | Upper-limit-only characteristics have a natural floor of 0 (form, orientation, location, runout and roughness).
| • | One reading per characteristic per FAI. For characteristics with several places, record the worst reading or add a row per place.
| • | A partial FAI lists only the characteristics it re-inspects; the original FAI keeps its FAIL as the record.
Limitations
| • | The workbook is the accountability and results record; it does not reproduce AS9102 or customer FAI forms. Transfer the results onto the form your customer requires.
| • | Units are not converted: a characteristic's nominal, tolerances and reading must be in the same unit.
| • | The by-FAI block shows the first 12 FAIs on the register and the category block has fixed rows (a warning appears when either grows).
| • | Estimated inspection time is a planning figure from your own standards, not a measured time.
Agreement with the live calculator
Estimated time per FAI is the First Article Inspection Time calculator's required time: characteristic count x measurement minutes per characteristic + setup and fixturing + planning and reporting. With the calculator's default example (60 characteristics, 3 min each, 36 min setup, 45 min reporting, 300 min window) both give 261 min and a 39 min margin; the template's reference is checked against the engine on every build. The workbook adds the register, the results log, limits and PASS/FAIL.
Open the First Article Inspection Time Calculator
Self-check
The Verify sheet holds fixed test inputs. Its formulas are the same formula text as the working sheets, placed against those inputs, and each result is compared with a value computed independently by the template's Python reference implementation when the file was built. If you edit a formula on a working sheet, the Verify sheet still tests the original formula text, so it will not detect your change.
Sources and standards
| • | SAE AS9102C, Aerospace First Article Inspection Requirement (referenced, not reproduced).
| • | ASME Y14.5-2018, Dimensioning and Tolerancing (limits and geometric tolerances by reference).
| • | ISO 1101:2017, Geometrical product specifications - Geometrical tolerancing (by reference).
| • | MFG Calcs First Article Inspection Time calculator: characteristics x minutes per characteristic + setup + reporting.
Standards are cited by name so you can look them up; no copyrighted standard text or tables are reproduced. Statistical constants used are public.
Version history
| Version | Change | Date
| 1.0.0 | First release. | 15 October 2026
Engineering estimates for planning and improvement work. Verify the results against your own process, data and standards before you rely on them.

## Verify
First Article Inspection Tracker
| Self-check: the workbook's formulas recomputed on fixed inputs against an independent reference. | [19 empty] | mfgcalcs.com
| Self-check status |  | PASS |  | 21 of 21 checks pass
This sheet recomputes the workbook's own formulas on fixed test inputs and compares each result with a value computed independently by the template's Python reference implementation when the file was built. Every row should read PASS. The test inputs are fixed and do not change when you edit Setup or the working sheets.
Checks
| No. | Check |  |  |  | Expected (reference) | Workbook result | Difference | Tolerance | Result
| 1 | Char 1: USL (20.000 H7) |  |  |  | 20.021 | 20.021 | 0 | 1e-09 | PASS
| 2 | Char 1: tolerance used |  |  |  | 71.43% | 71.43% | 0 | 1e-09 | PASS
| 3 | Char 2: tolerance used (inch part) |  |  |  | 84% | 84% | 0 | 1e-09 | PASS
| 4 | Char 2: near limit |  |  |  | 1 | 1 | 0 | 1e-09 | PASS
| 5 | Char 3: upper limit only, deviation |  |  |  | 0.062 | 0.062 | 0 | 1e-09 | PASS
| 6 | Char 3: upper limit only, result |  |  |  | FAIL | FAIL |  | exact | PASS
| 7 | Char 4: attribute conforms |  |  |  | PASS | PASS |  | exact | PASS
| 8 | Char 6: not measured |  |  |  | Not measured | Not measured |  | exact | PASS
| 9 | Char 7: attribute does not conform |  |  |  | FAIL | FAIL |  | exact | PASS
| 10 | Char 8: Check reports the duplicate |  |  |  | Duplicate char no. | Duplicate char no. |  | exact | PASS
| 11 | A1: characteristics |  |  |  | 4 | 4 | 0 | 1e-09 | PASS
| 12 | A1: result (one FAIL) |  |  |  | FAIL | FAIL |  | exact | PASS
| 13 | A1: estimated time |  |  |  | 93 | 93 | 0 | 1e-09 | PASS
| 14 | A2: result (3 rows: 1 measured twice, 1 open) |  |  |  | In progress | In progress |  | exact | PASS
| 15 | A2: due status (planned date passed) |  |  |  | Overdue | Overdue |  | exact | PASS
| 16 | A3: due status (within 7 days) |  |  |  | Due soon | Due soon |  | exact | PASS
| 17 | A4: Check reports no characteristics |  |  |  | No characteristics listed | No characteristics listed |  | exact | PASS
| 18 | FAIs overdue (Dashboard formula) |  |  |  | 1 | 1 | 0 | 1e-09 | PASS
| 19 | Nonconforming characteristics (Dashboard formula) |  |  |  | 2 | 2 | 0 | 1e-09 | PASS
| 20 | Near-limit characteristics (Dashboard formula) |  |  |  | 1 | 1 | 0 | 1e-09 | PASS
| 21 | Required time, calculator example: 60 x 3 + 36 + 45 |  |  |  | 261 | 261 | 0 | 1e-09 | PASS
Fixed test inputs
White cells are fixed test inputs; blue cells are the workbook's formulas evaluated on them.
Parameters
| Status date |  |  | 2026-05-15
| Due soon window (days) |  |  | 7
| Near-limit share |  |  | 80%
| Minutes per characteristic (calculator example) |  |  | 3
| Setup minutes (calculator example) |  |  | 36
| Reporting minutes (calculator example) |  |  | 45
Test table: Customers
| Customer | Notes
C1
Test table: FAIs
| FAI no. | Part number | Rev | Part name | Customer | Reason | FAI type | Inspector | Planned date | Completed | Characteristics | Measured | Nonconforming | Measured share | Result | Due status | Est. time (min) | Open | Check | Notes
| A1 | P-A1 | A | Part | C1 | New part | Full | I1 | 2026-05-01 | 2026-04-30 | 4 | 4 | 1 | 100% | FAIL | Complete | 93 | 0 | OK
| A2 | P-A2 | A | Part | C1 | New part | Full | I1 | 2026-05-10 |  | 3 | 2 | 0 | 66.67% | In progress | Overdue | 90 | 1 | OK
| A3 | P-A3 | A | Part | C1 | New part | Full | I1 | 2026-05-20 |  | 1 | 1 | 1 | 100% | FAIL | Due soon | 84 | 1 | OK
| A4 | P-A4 | A | Part | C1 | New part | Full | I1 | 2026-06-30 |  | 0 | 0 | 0 |  |  | OK | 81 | 1 | No characteristics listed
Test table: Chars
| FAI no. | Char no. | Characteristic | Category | Unit | Nominal | Lower tol | Upper tol | Measured | Attribute result | Gauge | Part number | Open FAI | LSL | USL | Deviation | Tolerance used | Result | Near limit | Check | Notes
| A1 | 1 | Char 1 | Dimension | mm | 20 | 0 | 0.021 | 20.018 |  | G1 | P-A1 | 0 | 20 | 20.021 | 0.018 | 71.43% | PASS | 0 | OK
| A1 | 2 | Char 2 | Dimension | in | 0.25 | -0.005 | 0.005 | 0.2542 |  | G1 | P-A1 | 0 | 0.245 | 0.255 | 0.0042 | 84% | PASS | 1 | OK
| A1 | 3 | Char 3 | Geometric tolerance | mm | 0 |  | 0.05 | 0.062 |  | G1 | P-A1 | 0 |  | 0.05 | 0.062 | 124% | FAIL | 0 | OK
| A1 | 4 | Char 4 | Material or process cert | n/a |  |  |  |  | Conforms | G1 | P-A1 | 0 |  |  |  |  | PASS | 0 | OK
| A2 | 1 | Char 1 | Dimension | mm | 10 | -0.1 | 0.1 | 9.95 |  | G1 | P-A2 | 1 | 9.9 | 10.1 | -0.05 | 50% | PASS | 0 | Duplicate char no.
| A2 | 2 | Char 2 | Dimension | mm | 10 | -0.1 | 0.1 |  |  |  | P-A2 | 1 | 9.9 | 10.1 |  |  | Not measured | 0 | OK
| A3 | 1 | Char 1 | Thread | n/a |  |  |  |  | Does not conform | G1 | P-A3 | 1 |  |  |  |  | FAIL | 0 | OK
| A2 | 1 | Char 1 | Dimension | mm | 5 | -0.1 | 0.1 | 5 |  |  | P-A2 | 1 | 4.9 | 5.1 | 0 | 0% | PASS | 0 | Duplicate char no.