## Start Here
Gage R&R Study
| Read this first: what the workbook does and how to use it. |  |  |  | mfgcalcs.com
Gage R&R Study
Enter a crossed gage study (parts x appraisers x trials) and get repeatability, reproducibility, % GRR of study variation and tolerance, and ndc.
For: Quality and metrology engineers, supplier quality engineers and inspection leads qualifying a gage for PPAP, a control plan or a customer audit.
Version 1.0.0 · updated 15 October 2026
Quick start
| 1. | On Setup, name the gage and characteristic, set the trials (2 or 3), parts (2 to 10), tolerance and your acceptance limits, and list the appraisers (2 or 3).
| 2. | Measure the parts in random order, blind to part number where you can. On Study, enter one row per appraiser per part with the trials in order.
| 3. | Fix anything the Check column names; Range above UCL means re-measure that part.
| 4. | Read the Dashboard: % GRR of study variation and of tolerance, ndc, and which source dominates (equipment or appraisers).
What is in this workbook
|  | Start Here | Read this first: what the workbook does and how to use it.
|  | Setup | The gage, the study design, the tolerance, your acceptance limits and the appraisers.
|  | Study | One row per appraiser per part. Enter the trials in the order measured.
|  | Dashboard | Is the gage good enough? % GRR of study variation and tolerance, ndc, and where the measurement error comes from.
|  | Method | How every number is calculated, with assumptions, limits and sources.
|  | Verify | Self-check: the workbook's formulas recomputed on fixed inputs against an independent reference.
Colour key
|  | Input | Yellow cells are yours: type a value or pick from the list. Each one says what it accepts when you click it.
|  | Calculated | Blue cells are formulas. They update as you type; overwrite one and that row stops calculating.
|  | Note | Grey boxes are guidance and labelled example data.
|  | Status words | On target / PASS / OK | Near target / Check | Below target / FAIL
Status is always written in words; the colour only repeats it, so the workbook reads the same in black-and-white print and for colour-blind readers.
Self-check and links
|  | Self-check | PASS | 12 of 12 checks pass
The Verify sheet recomputes this workbook's formulas on fixed test inputs and compares them with an independent reference calculation. PASS means every check agreed when you opened the file.
|  | Run it live | Gauge R&R Percentage Calculator on mfgcalcs.com
|  | Latest version | mfgcalcs.com/templates/gage-rr-study
|  | More free templates | mfgcalcs.com/templates
|  | Version | 1.0.0 (updated 15 October 2026)
About the example data
Every number already in this workbook is example data for Northgate Precision, a fictional business invented for this template, so the dashboard and charts show something meaningful on day one. It covers ten plunger diameters measured three times each by three appraisers with one micrometer (90 readings), generated from a fixed seed. To clear it: on each working sheet, select the example rows of the table, right-click and choose Delete > Table Rows. The formulas stay, and every new row you type below the table picks them up.
Good to know
| • | Sheets Start Here, Dashboard, Method, Verify are protected without a password so formulas and layout are not overwritten by accident. To change them: Review > Unprotect Sheet.
| • | Setup and the working sheets are not protected, so tables grow as you add rows.
| • | Works in Excel 2016 and later, Microsoft 365, LibreOffice 24 and Google Sheets (File > Import). No macros, no external links, no add-ins.
| • | Money is shown in the currency you type on Setup; no exchange rates are applied.
Free from MFG Calcs - keep this credit when you share it.
Engineering estimates for planning and improvement work. Verify the results against your own process, data and standards before you rely on them.

## Setup
Gage R&R Study
| The gage, the study design, the tolerance, your acceptance limits and the appraisers. |  |  | mfgcalcs.com
Gage and study design
| Plant or lab | Northgate Precision (example)
| Gage | Digital micrometer 0-25 mm, GA-114 (example)
| Characteristic | Plunger OD 6.350 +/- 0.025 mm (example)
| Measurement unit | mm
| Trials per appraiser per part | 3 | trials
| Parts in the study | 10 | parts
| Tolerance (USL - LSL) | 0.05 | mm
| Spread multiplier for % tolerance | 6 | sigma
| Acceptable below | 10% | % GRR
| Unacceptable above | 30% | % GRR
| Minimum distinct categories | 5 | ndc
Acceptance limits are yours to set; the defaults follow the guidance in the AIAG Measurement Systems Analysis reference manual. Your customer's requirements take precedence.
Appraisers (2 or 3)
| Appraiser | Notes
| A. Patel | Day shift inspector
| B. Novak | Machinist, cell 2
| C. Reyes | Night shift inspector
Study constants and statistics (calculated)
| Appraisers on the list | 3 | appraisers
| K1 for the trials (1 / d2*) | 0.5908 | -
| K2 for the appraisers (1 / d2*) | 0.5231 | -
| K3 for the parts (1 / d2*) | 0.3146 | -
| D4 for the trials | 2.574 | -
| Average range (R-double-bar) | 0.0028667 | mm
| Range control limit (D4 x R-double-bar) | 0.0073788 | mm
| Setup check | OK
Average and Range method constants (public)
Public statistical constants: K = 1 / d2* for the number of trials, appraisers or parts, and D4 for the range chart. Do not edit.
| Count | K1 (trials) | K2 (appraisers) | K3 (parts) | D4 (trials)
| 2 | 0.8862 | 0.7071 | 0.7071 | 3.267
| 3 | 0.5908 | 0.5231 | 0.5231 | 2.574
| 4 |  |  | 0.4467
| 5 |  |  | 0.403
| 6 |  |  | 0.3742
| 7 |  |  | 0.3534
| 8 |  |  | 0.3375
| 9 |  |  | 0.3249
| 10 |  |  | 0.3146

## Study
Gage R&R Study
| One row per appraiser per part. Enter the trials in the order measured. | [7 empty] | mfgcalcs.com
Example data for Northgate Precision (fictional). To clear: select the example rows, right-click, Delete > Table Rows. Yellow = you type; blue = calculated; Check names any problem.
|  |  | mm | mm | mm | mm | mm
| Appraiser | Part no. | Trial 1 | Trial 2 | Trial 3 | Mean | Range | Check | Notes
| A. Patel | 1 | 6.346 | 6.341 | 6.341 | 6.3427 | 0.005 | OK
| A. Patel | 2 | 6.337 | 6.338 | 6.339 | 6.338 | 0.002 | OK
| A. Patel | 3 | 6.346 | 6.345 | 6.345 | 6.3453 | 0.001 | OK
| A. Patel | 4 | 6.353 | 6.353 | 6.35 | 6.352 | 0.003 | OK
| A. Patel | 5 | 6.349 | 6.35 | 6.349 | 6.3493 | 0.001 | OK
| A. Patel | 6 | 6.368 | 6.366 | 6.369 | 6.3677 | 0.003 | OK
| A. Patel | 7 | 6.355 | 6.359 | 6.361 | 6.3583 | 0.006 | OK
| A. Patel | 8 | 6.363 | 6.363 | 6.362 | 6.3627 | 0.001 | OK
| A. Patel | 9 | 6.337 | 6.333 | 6.335 | 6.335 | 0.004 | OK
| A. Patel | 10 | 6.355 | 6.355 | 6.354 | 6.3547 | 0.001 | OK
| B. Novak | 1 | 6.343 | 6.346 | 6.344 | 6.3443 | 0.003 | OK
| B. Novak | 2 | 6.339 | 6.341 | 6.339 | 6.3397 | 0.002 | OK
| B. Novak | 3 | 6.347 | 6.345 | 6.348 | 6.3467 | 0.003 | OK
| B. Novak | 4 | 6.353 | 6.355 | 6.354 | 6.354 | 0.002 | OK
| B. Novak | 5 | 6.354 | 6.351 | 6.352 | 6.3523 | 0.003 | OK
| B. Novak | 6 | 6.368 | 6.367 | 6.369 | 6.368 | 0.002 | OK
| B. Novak | 7 | 6.36 | 6.358 | 6.359 | 6.359 | 0.002 | OK
| B. Novak | 8 | 6.362 | 6.361 | 6.362 | 6.3617 | 0.001 | OK
| B. Novak | 9 | 6.335 | 6.334 | 6.335 | 6.3347 | 0.001 | OK
| B. Novak | 10 | 6.356 | 6.359 | 6.355 | 6.3567 | 0.004 | OK
| C. Reyes | 1 | 6.343 | 6.339 | 6.339 | 6.3403 | 0.004 | OK
| C. Reyes | 2 | 6.339 | 6.337 | 6.337 | 6.3377 | 0.002 | OK
| C. Reyes | 3 | 6.347 | 6.349 | 6.343 | 6.3463 | 0.006 | OK
| C. Reyes | 4 | 6.349 | 6.35 | 6.351 | 6.35 | 0.002 | OK
| C. Reyes | 5 | 6.351 | 6.348 | 6.351 | 6.35 | 0.003 | OK
| C. Reyes | 6 | 6.367 | 6.37 | 6.369 | 6.3687 | 0.003 | OK
| C. Reyes | 7 | 6.354 | 6.356 | 6.356 | 6.3553 | 0.002 | OK
| C. Reyes | 8 | 6.358 | 6.362 | 6.36 | 6.36 | 0.004 | OK
| C. Reyes | 9 | 6.334 | 6.329 | 6.336 | 6.333 | 0.007 | OK
| C. Reyes | 10 | 6.353 | 6.356 | 6.353 | 6.354 | 0.003 | OK

## Dashboard
Gage R&R Study
| Is the gage good enough? % GRR of study variation and tolerance, ndc, and where the measurement error comes from. | [8 empty] | mfgcalcs.com
Digital micrometer 0-25 mm, GA-114 (example) ¦ Plunger OD 6.350 +/- 0.025 mm (example) ¦ 10 parts x 3 appraisers x 3 trials
| % GRR OF STUDY VARIATION |  | % GRR OF TOLERANCE |  |  | DISTINCT CATEGORIES (NDC) |  |  | LARGER SOURCE OF GAGE ERROR
| 18.56% |  | 24.17% |  |  | 7 |  |  | Repeatability (equipment)
| 10% |  | 10% |  |  | 5 |  |  | Compare EV with AV below
| Check |  | Check |  |  | On target
| Components of variation | [5 empty] | Appraiser spread X-diff |  | 0.0021667 |  | mm
| Source | Std dev | % study var | % contribution | % tolerance |  | Part range Rp |  | 0.033889 |  | mm
|  | mm |  |  |  |  | Repeatability EV |  | 0.0016936 |  | mm
| Repeatability (EV) | 0.0016936 | 15.61% | 2.437% | 20.32% |  | Reproducibility AV |  | 0.0010904 |  | mm
| Reproducibility (AV) | 0.0010904 | 10.05% | 1.01% | 13.08% |  | Gage R&R GRR |  | 0.0020143 |  | mm
| Gage R&R (GRR) | 0.0020143 | 18.56% | 3.446% | 24.17% |  | Part variation PV |  | 0.010661 |  | mm
| Part-to-part (PV) | 0.010661 | 98.26% | 96.55% | 127.9% |  | Total variation TV |  | 0.01085 |  | mm
| Total (TV) | 0.01085 | 100% | 100% | 130.2% |  | % GRR of study var. |  | 18.56% |  | %
[7 empty] | % GRR of tolerance |  | 24.17% |  | %
[7 empty] | 1.41 x PV / GRR |  | 7.463 |  | -
[7 empty] | Distinct categories |  | 7 |  | categories
[7 empty] | Larger error source |  | Repeatability (equipment)
Average by appraiser and part
| Appraiser / part | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| A. Patel | 6.3427 | 6.338 | 6.3453 | 6.352 | 6.3493 | 6.3677 | 6.3583 | 6.3627 | 6.335 | 6.3547
| B. Novak | 6.3443 | 6.3397 | 6.3467 | 6.354 | 6.3523 | 6.368 | 6.359 | 6.3617 | 6.3347 | 6.3567
| C. Reyes | 6.3403 | 6.3377 | 6.3463 | 6.35 | 6.35 | 6.3687 | 6.3553 | 6.36 | 6.333 | 6.354
Range by appraiser and part
| Appraiser / part | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| A. Patel | 0.005 | 0.002 | 0.001 | 0.003 | 0.001 | 0.003 | 0.006 | 0.001 | 0.004 | 0.001
| B. Novak | 0.003 | 0.002 | 0.003 | 0.002 | 0.003 | 0.002 | 0.002 | 0.001 | 0.001 | 0.004
| C. Reyes | 0.004 | 0.002 | 0.006 | 0.002 | 0.003 | 0.003 | 0.002 | 0.004 | 0.007 | 0.003
| By appraiser | 5: By part
| Appraiser | Rows | Average | Average range |  | Part no. | Rows | Average
| A. Patel | 10 | 6.3506 | 0.0027 |  | 1 | 3 | 6.3424
| B. Novak | 10 | 6.3517 | 0.0023 |  | 2 | 3 | 6.3384
| C. Reyes | 10 | 6.3495 | 0.0036 |  | 3 | 3 | 6.3461
[6 empty] | 4 | 3 | 6.352
[6 empty] | 5 | 3 | 6.3506
[6 empty] | 6 | 3 | 6.3681
[6 empty] | 7 | 3 | 6.3576
[6 empty] | 8 | 3 | 6.3614
[6 empty] | 9 | 3 | 6.3342
[6 empty] | 10 | 3 | 6.3551
The Dashboard shows up to 3 appraisers and 10 parts, the limits of the Average and Range constants used here. A blank third appraiser plots at zero in the line chart.

## Method
Gage R&R Study
| How every number is calculated, with assumptions, limits and sources. |  | mfgcalcs.com
What this workbook calculates
A gage R&R study splits the variation seen in a set of measurements into the part-to-part variation you want to see and the measurement system's own variation: repeatability (the same appraiser measuring the same part again, mostly the equipment) and reproducibility (different appraisers, mostly method and people). This workbook uses the Average and Range method of the AIAG Measurement Systems Analysis manual. Every component is a standard deviation in your unit.
Calculations
| Quantity | How it is calculated | Units
| Mean and range (per row) | Average and largest minus smallest of one appraiser's trials on one part. | unit
| R-double-bar | Average of every row's range. | unit
| Range control limit | D4 x R-double-bar (D4 = 2.574 for 3 trials, 3.267 for 2). A row above it is flagged for re-measurement. | unit
| X-diff | Largest minus smallest appraiser average. | unit
| Rp | Largest minus smallest part average (over all appraisers and trials). | unit
| Repeatability (EV) | R-double-bar x K1; K1 = 1 / d2* = 0.5908 for 3 trials, 0.8862 for 2. | unit
| Reproducibility (AV) | sqrt((X-diff x K2)^2 - EV^2 / (parts x trials)), set to 0 when negative; K2 = 0.5231 for 3 appraisers, 0.7071 for 2. | unit
| Gage R&R (GRR) | sqrt(EV^2 + AV^2). | unit
| Part variation (PV) | Rp x K3; K3 depends on the number of parts (0.3146 for 10). | unit
| Total variation (TV) | sqrt(GRR^2 + PV^2). | unit
| % study variation | Component / TV. % contribution is the square of it (variance share). | %
| % tolerance | Spread multiplier (6 by default) x component / tolerance. | %
| ndc | 1.41 x PV / GRR, truncated to a whole number. | categories
| Status words | % GRR: OK below the acceptable limit, Check between the limits, FAIL above the unacceptable limit (Setup). ndc: On target at or above the minimum. | words
Assumptions
| • | A crossed, balanced study: every appraiser measures every part the same number of times.
| • | Parts are chosen to represent the process range. If they are not (for example ten nearly identical parts), PV and ndc are understated; judge the gage on % tolerance instead.
| • | Measurements are taken in random order and blind to earlier readings, so trials are independent.
| • | The gage is calibrated and stable during the study; bias and linearity are separate studies.
Limitations
| • | Average and Range method only. It does not separate the appraiser-by-part interaction; the ANOVA method does, and gives slightly different numbers.
| • | Up to 3 appraisers, 3 trials and 10 parts (the constants on Setup).
| • | Attribute (go/no-go) gages need an attribute agreement study instead.
| • | Acceptance limits are guidance: the AIAG manual leaves the 10% to 30% band to the application, its cost and the customer.
Agreement with the live calculator
The live Gauge R&R Percentage calculator combines a repeatability SD, a reproducibility SD and a part-to-part SD into % GRR of study variation. Enter this workbook's EV, AV and PV there and the % GRR, combined gauge SD and total SD agree exactly (checked against the calculator's engine on every build). The calculator starts from the three SDs; this workbook estimates them from the study readings and adds % tolerance, ndc and the charts.
Open the Gauge R&R Percentage Calculator
Self-check
The Verify sheet holds fixed test inputs. Its formulas are the same formula text as the working sheets, placed against those inputs, and each result is compared with a value computed independently by the template's Python reference implementation when the file was built. If you edit a formula on a working sheet, the Verify sheet still tests the original formula text, so it will not detect your change.
Sources and standards
| • | AIAG, Measurement Systems Analysis (MSA) reference manual, 4th edition, 2010 (Average and Range method, ndc, acceptance guidance).
| • | Duncan, A. J., Quality Control and Industrial Statistics, Irwin (d2* constants).
| • | ISO 22514-7, Capability of measurement processes (an alternative approach, not used here).
Standards are cited by name so you can look them up; no copyrighted standard text or tables are reproduced. Statistical constants used are public.
Version history
| Version | Change | Date
| 1.0.0 | First release. | 15 October 2026
Engineering estimates for planning and improvement work. Verify the results against your own process, data and standards before you rely on them.

## Verify
Gage R&R Study
| Self-check: the workbook's formulas recomputed on fixed inputs against an independent reference. | [9 empty] | mfgcalcs.com
| Self-check status |  | PASS |  | 12 of 12 checks pass
This sheet recomputes the workbook's own formulas on fixed test inputs and compares each result with a value computed independently by the template's Python reference implementation when the file was built. Every row should read PASS. The test inputs are fixed and do not change when you edit Setup or the working sheets.
Checks
| No. | Check |  |  |  | Expected (reference) | Workbook result | Difference | Tolerance | Result
| 1 | Row 1: mean |  |  |  | 2.495 | 2.495 | 0 | 1e-09 | PASS
| 2 | Row 1: range |  |  |  | 0.03 | 0.03 | 0 | 1e-09 | PASS
| 3 | Row 11: Check reports a part outside the study |  |  |  | Part no. above parts in study | Part no. above parts in study |  | exact | PASS
| 4 | Row 12: Check reports a missing trial |  |  |  | Reading count is not the trials | Reading count is not the trials |  | exact | PASS
| 5 | Repeatability EV |  |  |  | 0.017724 | 0.017724 | 0 | 1e-09 | PASS
| 6 | Reproducibility AV |  |  |  | 0.021922 | 0.021922 | 0 | 1e-09 | PASS
| 7 | Gage R&R GRR |  |  |  | 0.028191 | 0.028191 | 0 | 1e-09 | PASS
| 8 | Part variation PV |  |  |  | 0.21964 | 0.21963 | 0 | 1e-09 | PASS
| 9 | Total variation TV |  |  |  | 0.22144 | 0.22144 | 0 | 1e-09 | PASS
| 10 | % GRR of study variation |  |  |  | 0.12731 | 0.12731 | 0 | 1e-09 | PASS
| 11 | % GRR of tolerance |  |  |  | 0.33829 | 0.33829 | 0 | 1e-09 | PASS
| 12 | ndc (truncated) |  |  |  | 10 | 10 | 0 | 1e-09 | PASS
Fixed test inputs
White cells are fixed test inputs; blue cells are the workbook's formulas evaluated on them.
Parameters
| Trials |  |  | 2
| Parts |  |  | 5
| Tolerance |  |  | 0.5
| Spread multiplier |  |  | 6
| K1, 2 trials |  |  | 0.8862
| K2, 2 appraisers |  |  | 0.7071
| K3, 5 parts |  |  | 0.403
| D4, 2 trials |  |  | 3.267
Test table: Study
|  |  | mm | mm | mm | mm | mm
| Appraiser | Part no. | Trial 1 | Trial 2 | Trial 3 | Mean | Range | Check | Notes
| P | 1 | 2.48 | 2.51 |  | 2.495 | 0.03 | OK
| P | 2 | 2.71 | 2.69 |  | 2.7 | 0.02 | OK
| P | 3 | 2.15 | 2.18 |  | 2.165 | 0.03 | OK
| P | 4 | 2.62 | 2.6 |  | 2.61 | 0.02 | OK
| P | 5 | 2.33 | 2.33 |  | 2.33 | 0 | OK
| Q | 1 | 2.52 | 2.5 |  | 2.51 | 0.02 | OK
| Q | 2 | 2.74 | 2.73 |  | 2.735 | 0.01 | Duplicate appraiser and part
| Q | 3 | 2.19 | 2.17 |  | 2.18 | 0.02 | OK
| Q | 4 | 2.66 | 2.68 |  | 2.67 | 0.02 | OK
| Q | 5 | 2.35 | 2.38 |  | 2.365 | 0.03 | OK
| P | 6 | 2.4 | 2.41 |  |  |  | Part no. above parts in study
| Q | 2 | 2.7 |  |  |  |  | Reading count is not the trials
Test inputs and formulas
| R-double-bar |  |  | 0.02
| Range UCL |  |  | 0.06534
Test grid: AppStats
| Appraiser | Rows | Average | Average range
| P | 5 | 2.46 | 0.02
| Q | 5 | 2.492 | 0.02
Test grid: PartStats
| Part no. | Rows | Average
| 1 | 2 | 2.5025
| 2 | 2 | 2.7175
| 3 | 2 | 2.1725
| 4 | 2 | 2.64
| 5 | 2 | 2.3475
| 6 | 0
| 7 | 0
| 8 | 0
| 9 | 0
| 10 | 0
Test inputs and formulas
| Appraiser spread X-diff |  |  | 0.032 | mm
| Part range Rp |  |  | 0.545 | mm
| Repeatability EV |  |  | 0.017724 | mm
| Reproducibility AV |  |  | 0.021922 | mm
| Gage R&R GRR |  |  | 0.028191 | mm
| Part variation PV |  |  | 0.21963 | mm
| Total variation TV |  |  | 0.22144 | mm
| % GRR of study var. |  |  | 12.73% | %
| % GRR of tolerance |  |  | 33.83% | %
| 1.41 x PV / GRR |  |  | 10.9854 | -
| Distinct categories |  |  | 10 | categories
| Larger error source |  |  | Reproducibility (appraisers)